## Budget Summary
Category Summary by Proportion (%)
GCF Budget Category | GCF Funded | Country
Staff Cost | 50.62% | 49.38%
Fuel, accommodation and per diem | 0% | 100%
Training, workshop and conference | 0% | 100%
Construction Cost | 100% | 0%
Equipment Cost | 100% | 0%
International Consultants | 100% | 0%
National Consultants | 0% | 100%
Service Provider | 0% | 100%
National ministry staff and consultants (QA)
Accredited Entity Fee | 100%
Category Summary by Proportion ($)
GCF Budget Category | GCF Funded | Country
Staff Cost | 126830.9 | 1558122.1504 | 1684953.0504 | 7.527% | 92.47%
Fuel, accommodation and per diem |  | 634889.4822 | 866689.78 | 0% | 73.25%
Training, workshop and conference |  | 138550.3 | 378750 | 0% | 36.58%
Construction Cost | 1426122.1875 |  | 1426122.1875 | 100% | 0%
Equipment Cost | 36748782.3979 |  | 36748782.3979 | 100% | 0%
International Consultants | 5779391.19 |  | 5477941.49 | 105.5% | 0%
National Consultants |  | 459989.34 | 617489.34 | 0% | 74.49%
Service Provider |  | 26250 | 26250 | 0% | 100%
National ministry staff and consultants (QA) |  | 2170296.72 | 2170296.72
Accredited Entity Fee | 3290908 |  | 3290908
Total | 47372034.6754 | 4988097.9926

## Detailed Budget
Components | Outcomes |  | Outputs and Activities | Unit | Number of units | Unit Cost | Total Cost | GCF Contribution | MOF Contribution | Control
Component 1: Community Resilience | Outcome 1a: Increased resilience and enhanced livelihoods of vulnerable smallholder farmers & pastoralists | 1.1 | Solar water pumps installed
|  | 1.1.1 | Rehabilitation of wells and testing of water quality | Number | 100 | 19014.9625 | 1901496.25 | 1426122.1875 | 475374.0625 | 0
|  | 1.1.2 | Procurement and installation of Solar PV's, submersible pumps and irrigation systems | Number | 100 | 58444.0228 | 5844402.2779 | 5844402.2779 |  | 0
|  | 1.1.3 | Operations and Maintenance of Solar Water Pump and Water Supply Infrastructure | Per year | 3 | 118989.49 | 356968.47 | 126830.8974 | 230137.5726 | 0
|  |  | Output Total |  |  |  | 8102866.9979 | 7397355.3628 | 705511.6351 | 0
|  | 1.2 | Efficient water distribution points constructed for households, irrigation and livestock | [6 empty] | 0
|  | 1.2.1 | Construction of pipe network, irrigation infrastructure and point collection facilities | [6 empty] | 0
|  | 1.2.1.1 | Conduct a detailed site survey to plan the pipe network and irrigation infrastructure layout. | Number | 100 | 1800 | 180000 | 90000 | 90000 | 0
|  | 1.2.1.2 | Procure and transport necessary materials, such as pipes, fittings, valves, control systems, and construction equipment (40.8 Kms of main's and 66.7 submain pipelines and associated fittings, 52 water points and 42 cattle troughs) | Number | 100 | 60566.7786 | 6056677.8648 | 6056677.8648 |  | 0
|  | 1.2.1.3 | Excavate and prepare the trenches for laying the pipe network and irrigation pipelines. | Number | 100 | 139321.0596 | 13932105.9617 | 13932105.9617 |  | 0
|  | 1.2.1.4 | Install and connect the pipe networks and pipelines with pumps, control systems, reservoirs for efficient water distribution. | Number | 100 | 108131.9629 | 10813196.2938 | 10813196.2938 |  | 0
|  | 1.2.1.5 | Test and commission the installed irrigation infrastructure and pipe networks for proper operation. | Number | 86 | 3488.3721 | 300000 | 300000 |  | 0
[7 empty] | 0 |  |  | 0
|  | 1.2.2 | Install smart water meters to monitor usage. | Number | 100 | 1024 | 102400 | 102400 |  | 0
|  | 1.2.3 | Design and refine payment tariff for community water supply payments. | Number | 100 | 1050 | 105000 | 78750 | 26250 | 0
| Outcome 1b: Increased community access to safe water in drought prone regions. | 1.2.4 | Operation and Maintenance manual of water supply infrastructure | Number | 2 | 24989.34 | 49978.68 | 24989.34 | 24989.34 | 0
0
|  |  | Output Total |  |  |  | 31539358.8002 | 31398119.4602 | 141239.34 | 0
0
|  | 1.3 | Gender sensitive IUAs/Water Use Associations established and capacitated | [6 empty] | 0
|  | 1.3.1 | Facilitate the formation of IUAs/WUAs with a focus on gender inclusivity. | Number | 86 | 2906.9767 | 250000 | 250000 |  | 0
|  | 1.3.2 | Draft and approve by-laws mandating minimum participation levels for women. | Number | 1 | 50000 | 50000 | 37500 | 12500 | 0
|  | 1.3.3 | Develop and implement training programs for IUA/WUA members. | Number | 2 | 75000 | 150000 | 101449.7 | 48550.3 | 0
|  | 1.3.4 | Provide ongoing operational support and technical assistance to IUAs/WUAs. | Number | 86 | 2906.9767 | 250000 | 250000 |  | 0
|  |  | Output Total |  |  |  | 700000 | 638949.7 | 61050.3 | 0
0
|  | 1.4 | 1.4: Small scale revolving fund facility established | [6 empty] | 0
|  | 1.4.1 | Establish and/or strengthen IUAs/WUAs. | Number | 10 | 67500 | 675000 | 675000 |  | 0
|  | 1.4.2 | Provide training to IUAs/WUAs members on financial literacy. | Number | 4700 | 218.83 | 1028501 | 1028501 |  | 0
|  | 1.4.3 | Define revolving fund terms, including repayment schedules. | Number | 10 | 13500 | 135000 | 135000 |  | 0
|  | 1.4.4 | Establish Revolving fund | Number | 10 | 110000 | 1100000 |  | 1100000 | 0
|  | 1.4.5 | Develop a revolving fund management and administration guideline/manual. | Number | 1 | 50000 | 50000 | 50000 |  | 0
|  |  | Output Total |  |  |  | 2988501 | 1888501 | 1100000 | 0
0
Component 2: Enabiling Envrionment | Outcome 2: Improved enabling environment for implementing and scaling solar based, sustainable water supply systems. | 2.1 | Regulations, policies and guidelines created and or strengthened towards building adaptive capacity | [6 empty] | 0
|  | 2.1.1 | Develop and implement/strengthen robust national and regional licensing and regulatory frameworks for groundwater abstraction and use. | Number | 1 | 200000 | 200000 | 150000 | 50000 | 0
|  | 2.1.2 | Implement the use of digital water meters to measure groundwater extraction at each borehole. | Number | 1 | 150000 | 150000 | 112500 | 37500 | 0
|  | 2.1.3 | Update and strengthen technical quality benchmarks or standards for SWP technologies, including energy efficiency standards for submersible pumps and solar PV systems. | Number | 1 | 50000 | 50000 | 37500 | 12500 | 0
|  |  | Output Total |  |  |  | 400000 | 300000 | 100000 | 0
0
|  | 2.2 | Digital MRV, and payment system established | [6 empty] | 0
|  | 2.2.1 | Design and develop digital MRV platform. | Number | 1 | 250000 | 250000 | 187500 | 62500 | 0
|  | 2.2.2 | Support the integration of digital MRV system with the national MRV framework. | Number | 1 | 1010000 | 1010000 | 757500 | 252500 | 0
|  | 2.2.3 | Develop training material for the digital MRV system and conduct training sessions for government officials, IUAs, and local communities. | Number | 1 | 50000 | 50000 | 37500 | 12500 | 0
|  |  | Output Total |  |  |  | 1310000 | 982500 | 327500 | 0
0
|  | 2.3 | Gender sensitive business models and financial instruments identified | [6 empty] | 0
|  | 2.3.1 | Identify gender-specific needs and barriers in current business models and financial instruments. | Number | 1 | 50000 | 50000 | 37500 | 12500 | 0
|  | 2.3.2 | Develop business models that consider local gender roles in agriculture and water use. | Number | 1 | 100000 | 100000 | 75000 | 25000 | 0
|  | 2.3.3 | Conduct training programs on gender-sensitive business models and financial instruments. | Number | 100 | 1500 | 150000 | 75000 | 75000 | 0
|  | 2.3.4 | Conduct workshops and training sessions for IUAs, and local communities. | Number | 30 | 5000 | 150000 | 75000 | 75000 | 0
|  |  | Output Total |  |  |  | 450000 | 262500 | 187500 | 0
0
|  | 2.4 | Local technicians trained on O&M of SWP and irrigation systems | [6 empty] | 0
|  | 2.4.1 | Conduct a needs assessment to identify the specific skills required for O&M of SWP and irrigation systems. | Number | 1 | 130000 | 130000 | 97500 | 32500 | 0
|  | 2.4.2 | Organize training workshops in collaboration with the academia and regional bureaus. | Number | 7 | 25000 | 175000 | 87500 | 87500 | 0
|  |  | Output Total |  |  |  | 305000 | 185000 | 120000 | 0
0
|  | 2.5 | Knowledge sharing and coordination platform established | [6 empty] | 0
|  | 2.5.1 | Identify key stakeholders and conduct a comprehensive needs assessment to identify gaps in knowledge sharing and coordination. | Number | 1 | 100000 | 100000 | 70000 | 30000 | 0
|  | 2.5.2 | Develop knowledge management and dissemination strategy. | Number | 1 | 50000 | 50000 | 35000 | 15000 | 0
|  | 2.5.3 | Design and develop the online knowledge-sharing and coordination platform. | Number | 1 | 100000 | 100000 | 70000 | 30000 | 0
|  |  | Output Total |  |  |  | 250000 | 175000 | 75000 | 0
0
|  |  | Project Total |  |  |  | 46045726.7981 | 43227925.523 | 2817801.2751 | 0
0
|  |  | Project Management | [6 empty] | 0
|  |  | National ministry staff and consultants | Per year | 7 | 89261.55 | 624830 | 293670.1 | 331159.9 | 0
|  |  | Regional and Woreda project staff | per year | 7 | 150000 | 1049999.44 | 493499.7368 | 556499.7032 | 0
|  |  | Utilities | Per year | 7 | 35000 | 245000 | 115150 | 129850 | 0
|  |  | Transportation | Per year | 7 | 82760.7143 | 579327 | 272283.69 | 307043.31 | 0
|  |  | Total |  |  |  | 2499156.44 | 1174603.5268 | 1324552.9132 | 0
0
|  |  | Gender Action plan | Lumpsum | 1 | 350000 | 350000 | 175000 | 175000 | 0
0
|  |  | Monitoring and Evaluaiton | [6 empty] | 0
|  |  | Quarterly project monitoring and supervison | Quarterly | 28 | 33107 | 926996 | 417148.2 | 509847.8 | 0
|  |  | Mid-term evaluation | Number | 1 | 78375 | 78375 | 0 | 78375 | 0
|  |  | Terminal Evaluation | Number | 1 | 82521.32 | 82521.32 | 0 | 82521.32 | 0
|  |  | Total |  |  |  | 1087892.32 | 417148.2 | 670744.12 | 0
|  |  | Grand Total |  |  |  | 49982775.5581 | 44994677.2498 | 4988098.3083 | 0

## PMU detail breakdown
PMC Breakdown
Table 1: staff and consultants costs
| Budget Item Description | Total |  |  |  |  | Contribution
|  | Unit | Unit cost (USD) per year | Quantity per year | Frequency in years | Total | GCF | MOF
Federal Level | National ministry staff | Number | 12751 | 2 | 7 | 178514 | 83901.58 | 94612.42
| Conslutants | Number | 44631.6 | 2 | 5 | 446316 | 209768.52 | 236547.48
| Sub total (USD) |  |  |  |  | 624830 | 293670.1 | 331159.9
Regional and Woreda level | Regional Project Coordinator | Number | 7000 | 2 | 7 | 98000 | 46060 | 51940
| Woreda project Officer | Number | 5913.04 | 23 | 7 | 951999.44 | 447439.7368 | 504559.7032
| Sub total (USD) |  |  |  |  | 1049999.44 | 493499.7368 | 556499.7032
Table 2: Utilities and Transportation
| Budget Item Description | Total |  |  |  |  | Contribution
|  | Unit | Unit cost (USD) per year | Quantity per year | Frequency in years | Total | GCF | MOF
Regional and Woreda level | Internet and telephone | Woreda | 1400 | 23 | 7 | 225400 | 105938 | 119462
| Internet and telephone | Region | 1400 | 2 | 7 | 19600 | 9212 | 10388
| Sub total (USD) |  |  |  |  | 245000 | 115150 | 129850
| Transportation for Regional staff | Region | 3315.5 | 2 | 7 | 46417 | 21815.99 | 24601.01
| Transportation for Woreda Staff | Woreda | 3310 | 23 | 7 | 532910 | 250467.7 | 282442.3
| Sub total (USD) |  |  |  |  | 579327 | 272283.69 | 307043.31
| Total |  |  |  |  | 2499156.44 | 1174603.5268 | 1324552.9132

## Budget in GCF Template
Task | Funding Source | Budget Account | Timeline | [6 empty] | Country | GCF | Total US$ | CHECK
|  |  | Year I | Year II | Year III | Year IV | Year V | Year VI | Year VII
Component 1: Increased community resilience through sustainable access to clean water
Output 1.1 - Solar water pumps installed | [12 empty] | 8102866.998
Activity 1.1.1 : Rehabilitation of 100 borehole holes and laboratory test of water chemistry | Country | Staff Cost | 50000 | 50000 | [5 empty] | 175074 |  | 175074
| Country | Fuel, accomodation and perdiem | 15000 | 15000 | [5 empty] | 300300.06 |  | 300300.06
| GCF | Construction Cost | 950748.125 | 950748.125 | [6 empty] | 1426122.1875 | 1426122.1875 | 1901496.2475
Activity 1.1.2: Procurement and installation of Solar PV's, submersible pumps and irrigation systems | Country | Staff Cost | 35000 | 35000 | [5 empty] | 0 |  | 0
| Country | Fuel, accomodation and perdiem | 15000 | 15000 | [5 empty] | 0 |  | 0
| GCF | Equipment Cost | #VALUE! | [7 empty] | 5844402.2779 | 5844402.2779 | 5844402.2779
Activity 1.1.3: Operations and Maintenance of Solar Water Pump and Water Supply Infrastructure | Country | Staff Cost | 35000 | 35000 | [5 empty] | 80548.1504 | 126830.9 | 207379.0504
| Country | Fuel, accomodation and perdiem | 15000 | 15000 | [5 empty] | 149589.4222 |  | 149589.4222
| GCF | Equipment Cost | 11901080.1427 | [9 empty] | 356968.4726
Output 1.2 - Efficient water distribution points constructed for households, irrigation and livestock | [11 empty] | 0 | 31539358.8
Activity 1.2.1: Construction of pipe network, irrigation infrastructure and point collection facilities | Country | National Consultants |  |  | 75000 |  |  |  |  | 30000 |  | 30000
| Country | Fuel, accomodation and perdiem |  |  | 20000 |  |  |  |  | 60000 |  | 60000
| GCF | International Consultants |  |  | 10000 |  |  |  |  | 0 | 390000 | 390000
| GCF | Equipment Cost |  |  | 10000 |  |  |  |  | 0 | 30801980.12 | 30801980.12 | 31281980.12
Activity 1.2.2: Install smart water meters to monitor usage | Country | Staff Cost |  |  |  | 20000 |  |  |  | 0 |  | 0
| Country | Fuel, accomodation and perdiem |  |  |  | 10000 |  |  |  | 0 |  | 0
| GCF | Equipment Cost |  |  |  | 50000 |  |  |  | 0 | 102400 | 102400 | 102400
Activity 1.2.3: Design and refine payment tariff for community water supply payments. | Country | Service Provider | [5 empty] | 20000 | 20000 | 26250 |  | 26250
| Country | Fuel, accomodation and perdiem | [5 empty] | 15000 | 15000 | 0 |  | 0
| GCF | International Consultants | [5 empty] | 30000 |  | 0 | 78750 | 78750
| Country | Training, workshop and conference | [5 empty] | 10000 |  | 0 |  | 0 | 105000
Sub-activity 1.2.4: Operation and Maintenance manual of water supply infrastructure | Country | Staff Cost | [5 empty] | 10000 | 10000 |  |  | 0
| Country | Fuel, accomodation and perdiem | [5 empty] | 20000 | 20000 | 0 |  | 0
| Country | National Consultants | [7 empty] | 24989.34 |  | 24989.34
| GCF | International Consultants | [5 empty] | 5000 | 5000 | 0 | 24989.34 | 24989.34 | 49978.68
Output 1.3 - Gender sensitive IUAs/Water Use Associations established and capacitated | [11 empty] | 0 | 700000
Activity 1.3.1: Facilitate the formation of IUAs/WUAs with a focus on gender inclusivity. | Country | Staff Cost |  | 10000 | [7 empty] | 0
| Country | Fuel, accomodation and perdiem | [9 empty] | 0
| GCF | International Consultants |  | 50000 | [6 empty] | 250000 | 250000 | 250000
Activity 1.3.2: Draft and approve by-laws mandating minimum participation levels for women. | Country | National Consultants |  | 10000 | [7 empty] | 0
| Country | Fuel, accomodation and perdiem |  | 50000 | [5 empty] | 12500 |  | 12500
| GCF | International Consultants |  | 5000 | [6 empty] | 37500 | 37500 | 50000
Activity 1.3.3: Develop and implement training programs for IUA/WUA members. | Country | Fuel, accomodation and perdiem |  | 10000 | [7 empty] | 0
| Country | Staff Cost | [7 empty] | 30000 |  | 30000
| Country | Training, workshop and conference |  | 5000 | [5 empty] | 18550.3 |  | 18550.3
| GCF | International Consultants |  | 10000 | [5 empty] | 0 | 101449.7 | 101449.7 | 150000
Activity 1.3.4: Provide ongoing operational support and technical assistance to IUAs/WUAs. | Country | Staff Cost |  | 10000 | 10000 | [6 empty] | 0
| Country | Fuel, accomodation and perdiem |  | 10000 | [7 empty] | 0
| Country | Training, workshop and conference |  | 10000 | [7 empty] | 0
| GCF | International Consultants |  | 3000 | 3000 | [5 empty] | 250000 | 250000 | 250000
Output 1.4 - Small scale revolving fund facility established | [11 empty] | 0 | 2988501
Activity 1.4.1: Establish and/or strengthen IUAs/WUAs. | Country | Staff Cost |  | 10000 | [6 empty] | 30000 | 30000
| Country | National Consultants | [8 empty] | 75000 | 75000
| Country | Fuel, accomodation and perdiem | [8 empty] | 30000 | 30000
| Country | Training, workshop and conference |  | 50000 | [6 empty] | 33750 | 33750
| GCF | International Consultants |  | 50000 | [5 empty] | 0 | 506250 | 506250 | 675000
Activity 1.4.2: Provide training to IUAs/WUAs members on financial literacy | Country | Staff Cost |  | 10000 | [6 empty] | 35500 | 35500
| Country | National Consultants | [8 empty] | 45000 | 45000
| Country | Fuel, accomodation and perdiem | [8 empty] | 78050.3 | 78050.3
| Country | Training, workshop and conference |  | 50000 | [6 empty] | 150000 | 150000
| GCF | International Consultants |  | 5000 | [5 empty] | 0 | 719950.7 | 719950.7 | 1028501
Activity 1.4.3: Define revolving fund terms, including repayment schedules. | Country | Staff Cost |  | 10000 | [5 empty] | 0 | 0 | 0
| Country | National Consultants | [8 empty] | 25000 | 25000
| Country | Fuel, accomodation and perdiem | [8 empty] | 8750 | 8750
| GCF | International Consultants |  | 10000 | [5 empty] | 0 | 101250 | 101250 | 135000
Activity 1.4.4: Revolving fund | Country | Staff Cost |  | 10000 | 10000 |  |  |  |  | 1100000 |  | 1100000
| GCF | Staff Cost |  | 3000 | 3000 |  |  |  |  | 0 |  | 0 | 1100000
Activity 1.4.5: Develop a revolving fund management and administration guideline/manual. | Country | National Consultants |  | 10000 | 10000 | [5 empty] | 12500 | 12500
| GCF | International Consultants |  | 3000 | 3000 |  |  |  |  | 0 | 37500 | 37500 | 50000
Component 2: Enabling environment | [11 empty] | 0
Output 2.1 – Regulations, policies and guidelines created and or strengthened towards building adaptive capacity | [11 empty] | 0 | 400000
Activity 2.1.1: Identify, develop and implement solutions to close policy and regulatory gaps and needs (e.g., on minimum technology performance standards, access to finance) | Country | Staff Cost |  | 10000 | [5 empty] | 12500 | 0 | 12500
| Country | National Consultants |  | 550000 | [5 empty] | 30000 | 0 | 30000
| Country | Training, workshop and conference |  | 15000 | [5 empty] | 7500 | 0 | 7500
| GCF | International Consultants |  | 15000 | [5 empty] | 0 | 150000 | 150000 | 200000
Activity 2.1.2: Implement the use of digital water meters to measure groundwater extraction at each borehole. | Country | Staff Cost |  |  |  |  | 10000 | 10000 | 1000 | 30000 | 0 | 30000
| Country | Training, workshop and conference |  |  |  |  | 3000 | 3000 | 3000 | 7500 | 0 | 7500
| GCF | International Consultants |  |  |  |  | 550000 | 550000 | 550000 | 0 | 112500 | 112500 | 150000
Activity 2.1.3: Update and strengthen technical quality benchmarks or standards for SWP technologies, including energy efficiency standards for submersible pumps and solar PV systems. | Country | Staff Cost |  | 10000 | [5 empty] | 12500 | 0 | 12500
| GCF | International Consultants |  | 15000 | [5 empty] | 0 | 37500 | 37500 | 50000
Output 2.2 - Digital MRV and payment system established | [11 empty] | 0 | 1310000
Activity 2.2.1: Develop and implement/strengthen robust national and regional licensing and regulatory frameworks for groundwater abstraction and use. | Country | Staff Cost |  |  | 10000 |  |  |  |  | 12500 |  | 12500
| Country | National Consultants |  |  | 550000 |  |  |  |  | 35000 |  | 35000
| Country | Fuel, accomodation and perdiem |  |  | 10000 |  |  |  |  | 15000 |  | 15000
| GCF | International Consultants |  |  | 20000 | [5 empty] | 187500 | 187500 | 250000
Activity 2.2.2: Implement the use of digital water meters to measure groundwater extraction at each borehole. | Country | Staff Cost |  |  |  | 20000 | 20000 |  |  | 65000 |  | 65000
| Country | National Consultants |  |  |  | 550000 | 550000 |  |  | 135000 |  | 135000
| Country | Fuel, accomodation and perdiem | [7 empty] | 35000 |  | 35000
| Country | Training, workshop and conference | [7 empty] | 17500 |  | 17500
| GCF | International Consultants |  |  |  | 20000 | 20000 |  |  |  | 757500 | 757500 | 1010000
Activity 2.2.3: Develop training material for the digital MRV system and conduct training sessions for government officials, IUAs, and local communities. | Country | Training, workshop and conference | [6 empty] | 10000 | 12500 |  | 12500
| GCF | International Consultants | [6 empty] | 550000 |  | 37500 | 37500 | 50000
Output 2.3 - Gender sensitive business models and financial instruments identified | [11 empty] | 0 | 450000
Activity 2.3.1: Identify gender-specific needs and barriers in current business models and financial instruments. | Country | Training, workshop and conference |  |  |  | 10000 |  |  |  | 12500 |  | 12500
| GCF | International Consultants |  |  |  | 10000 |  |  |  |  | 37500 | 37500 | 50000
Activity 2.3.2: Develop business models that consider local gender roles in agriculture and water use. | Country | National Consultants |  |  |  |  | 10000 | 10000 | 10000 | 25000 |  | 25000
| GCF | International Consultants |  |  |  |  | 10000 | 10000 | 10000 |  | 75000 | 75000 | 100000
Activity 2.3.3: Conduct training programs on gender-sensitive business models and financial instruments. | Country | National Consultants |  |  |  |  | 10000 | 10000 | 10000 | 35000 |  | 35000
| Country | Training, workshop and conference |  |  |  |  | 20000 | 20000 | 20000 | 20000 |  | 20000
| Country | Fuel, accomodation and perdiem |  |  |  |  | 10000 | 10000 | 10000 | 20000 |  | 20000
| GCF | International Consultants |  |  |  |  | 10000 | 10000 | 10000 |  | 75000 | 75000 | 150000
Activity 2.3.4: Conduct workshops and training sessions for IUAs, and local communities. | Country | National Consultants |  |  |  |  | 10000 | 10000 | 10000 | 35000 |  | 35000
| Country | Training, workshop and conference |  |  |  |  | 20000 | 20000 | 20000 | 20000 |  | 20000
| Country | Fuel, accomodation and perdiem |  |  |  |  | 10000 | 10000 | 10000 | 20000 |  | 20000
| GCF | International Consultants |  |  |  |  | 10000 | 10000 | 10000 |  | 75000 | 75000 | 150000
Output 2.4 - Local technicians trained on O&M of SWP and irrigation systems | [11 empty] | 0 | 305000
Activity 2.4.1: Conduct a needs assessment to identify the specific skills required for O&M of SWP and irrigation systems. | Country | Staff Cost |  | 10000 | 10000 | 10000 | 20000 | 20000 | 40000 | 15000 |  | 15000
| Country | Training, workshop and conference |  | 2000 | 2000 | 2000 | 4000 | 4000 | 4000 | 7500 |  | 7500
| Country | Fuel, accomodation and perdiem |  | 2000 | 2000 | 2000 | 4000 | 4000 | 4000 | 10000 |  | 10000
| GCF | International Consultants |  | 5000 | 5000 | 5000 | 7500 | 7500 | 10000 |  | 97500 | 97500 | 130000
Activity 2.4.2: Organize training workshops in collaboration with the academia and regional bureaus. | Country | Staff Cost |  |  |  |  | 5000 |  |  | 25000 |  | 25000
| Country | National Consultants |  |  |  |  | 20000 |  |  | 40000 |  | 40000
| Country | Training, workshop and conference | [7 empty] | 12500 |  | 12500
| Country | Fuel, accomodation and perdiem |  |  |  |  | 5000 |  |  | 10000 |  | 10000
| GCF | International Consultants |  |  |  |  | 2000 |  |  |  | 87500 | 87500 | 175000
Output 2.5 - Knowledge sharing and coordination platform established | [11 empty] | 0 | 250000
Activity 2.5.1: Identify key stakeholders and conduct a comprehensive needs assessment to identify gaps in knowledge sharing and coordination. | Country | National Consultants |  | 10000 | [5 empty] | 25000 |  | 25000
| Country | Fuel, accomodation and perdiem |  | 30000 | [5 empty] | 2500 |  | 2500
| Country | Training, workshop and conference |  | 10000 | [5 empty] | 2500 |  | 2500
| GCF | International Consultants |  | 10000 | [6 empty] | 70000 | 70000 | 100000
Activity 2.5.2: Develop knowledge management and dissemination strategy. | Country | National Consultants |  |  | 5000 | 5000 |  |  |  | 15000 |  | 15000
| GCF | International Consultants |  |  | 20000 | 20000 |  |  |  |  | 35000 | 35000 | 50000
Activity 2.5.3: Design and develop the online knowledge-sharing and coordination platform. | Country | National Consultants |  |  |  | 20000 | 20000 | 20000 | 20000 | 30000 |  | 30000
| GCF | International Consultants |  |  |  | 20000 | 20000 | 20000 | 20000 |  | 70000 | 70000 | 100000
Sub-Total | [9 empty] | 2817801.2726 | 43227925.5254 | 46045726.798
Quality Assurance | [12 empty] | 3937048.17
Gender Action Plan (GAP) | Country | National ministry staff and consultants | 20000 | 10000 | 10000 | 10000 | 10000 | 10000 | 20000 | 175000 |  | 175000
| GCF | International Consultants | 150000 | 150000 | 150000 | 150000 | 150000 | 150000 | 250000 |  | 175000 | 175000 | 350000
Monitoring and Evaluation (M&E) | Country | National ministry staff and consultants | 20000 | 10000 | 10000 | 10000 | 10000 | 10000 | 20000 | 670744.12 |  | 670744.12
| GCF | International Consultants | 150000 | 150000 | 150000 | 150000 | 150000 | 150000 | 250000 |  | 417148.2 | 417148.2 | 1087892.32
Management, field supervision and project delivery | Country | National ministry staff and consultants | 25000 | 25000 | 25000 | 25000 | 25000 | 25000 | 35000 | 1324552.6 |  | 1324552.6
| GCF | International Consultants | 400000 | 500000 | 500000 | 500000 | 500000 | 500000 | 550000 |  | 1174603.25 | 1174603.25 | 2499155.85
[9 empty] | Grand Total | 4988097.9926 | 44994676.9754 | 49982774.968

## 1.1.1.Rehabilitation of wells
Borehole rehabilitation and inspection
Item | Description | Unit | Qty. | Rate (US$) | Total Amount (US$)
1 | GENERAL
1.1. | Mobilization | L.S | 2 | 4183.125 | 8366.25
1.2 | Intersite Mobilization | L.S | 96 | 2250 | 216000
1.3 | Demobilization | L.S | 2 | 3213.125 | 6426.25
| Sub-Total |  |  | 0 | 230792.5
2 | REHABILITATION OF PRODUCTION WELLS |  |  | 0
2.2 | Surging by Surge block | Hour | 1000 | 186.725 | 186725
2.3 | Air surging, lifting and air pumping | Hour | 1500 | 200.0625 | 300093.75
2.4 | High velocity Jetting | Hour |  | 181.875 | 0
2.5 | Install submersible pump provided by the Client | Nr. | 100 | 2546.25 | 254625
| Sub-Total |  |  | 0 | 741443.75
3 | WELL INSPECTION |  |  | 0
| Inspect the well with video camera before commencement and after completion of the rehabilitation |  | 100 | 2243.125 | 224312.5
| Sub-Total |  |  | 0 | 224312.5
4 | PUMPING TEST |  |  | 0
4.1 | Preliminary pumping test on the drilled well | Hr | 200 | 103.0625 | 20612.5
4.2 | Conduct step draw down test | Hr | 800 | 185.5125 | 148410
4.3 | Conduct continuous pumping test and monitoring on pumped well and 4 wells near by | Hr | 2400 | 209.1562 | 501975
4.4 | Monitoring recovery | Hr | 600 | 54.5625 | 32737.5
4.5 | Well head cover | No | 100 | 12.125 | 1212.5
| Sub-Total |  |  | 0 | 704947.5
| Grand Total Kobo Girana and Borena |  |  |  | 1901496.25

## 1.1.2.Solar PV
Product Description | Qty | Unit | Price | Total US$
Submersible Pump, Motor, Controllers and Solar PV Module
1. PE C-SJ75-4, Rp 5" | 1 | Pc. | 2232.0428 | 2232.0428
Item Code: 14-000700 |  |  | 0
Multi-stage Centrifugal Pump End, non-return valve |  |  | 0
2. PE C-SJ120-3, Rp 6" | 10 | Pc. | 3736.0035 | 37360.035
Item Code: 14-008450 |  |  | 0
Multi-stage Centrifugal Pump End, non-return valve |  |  | 0
3. PE C-SJ95-7, Rp 5" | 8 | Pc. | 3688.8615 | 29510.892
Item Code: 14-008390 |  |  | 0
Multi-stage Centrifugal Pump End, non-return valve |  |  | 0
4. PE C-SJ150-4-1, Rp 6" | 30 | Pc. | 4538.727 | 136161.81
Item Code: 14-008670 |  |  | 0
Multi-stage Centrifugal Pump End, non-return valve |  |  | 0
5. PE C-SJ75-12, Rp 5" | 3 | Pc. | 4693.9028 | 14081.7082
Item Code: 14-008650 |  |  | 0
Multi-stage Centrifugal Pump End, non-return valve |  |  | 0
6. PE C-SJ150-5-1, Rp 6" | 5 | Pc. | 5199.3697 | 25996.8487
Item Code: 14-008680 |  |  | 0
Multi-stage Centrifugal Pump End, non-return valve |  |  | 0
7. PE C-SJ75-15, Rp 5" | 1 | Pc. | 5631.5048 | 5631.5048
Item Code: 14-008660 |  |  | 0
Multi-stage Centrifugal Pump End, non-return valve |  |  | 0
8. PE C-SJ150-7-2, Rp 6" | 2 | Pc. | 6136.9717 | 12273.9435
Item Code: 14-008530 |  |  | 0
Multi-stage Centrifugal Pump End, non-return valve |  |  | 0
9. AC Drive Sub 6" 15kW-380V-3ph-50Hz | 1 | Pc. | 2016.63 | 2016.63
Item Code: 18-000070 |  |  | 0
Submersible AC DRIVE, water filled 6", three phase |  |  | 0
10 AC Drive Sub 6" 30kW-380V-3ph-50Hz | 18 | Pc. | 2886.138 | 51950.484
Item Code: 18-000072 |  |  | 0
Submersible AC DRIVE, water filled 6", three phase |  |  | 0
11 AC Drive Sub 8" 45kW 380V-3ph-50Hz | 33 | Pc. | 4828.7812 | 159349.7812
Item Code: 18-000350 |  |  | 0
Submersible AC DRIVE, water filled 8", three phase |  |  | 0
12. AC Drive Sub 8" 55kW 380V-3ph-50Hz | 6 | Pc. | 5361.7478 | 32170.4865
Item Code: 18-000360 |  |  | 0
Submersible AC DRIVE, water filled 8", three phase |  |  | 0
13 AC Drive Sub 8" 75kW 380V-3ph-50Hz | 2 | Pc. | 6784.5195 | 13569.039
Item Code: 18-000190 |  |  | 0
Submersible AC DRIVE, water filled 8", three phase |  |  | 0
14 PSk2-21 Controller-15kVA-D | 1 | Pc. | 4862.1735 | 4862.1735
Item Code: 09-000180 |  |  | 0
Pump Controller, for Solar (PV) operation |  |  | 0
15 PSk2-40 Controller-30kVA-D | 18 | Pc. | 5968.701 | 107436.618
Item Code: 09-000200 |  |  | 0
Pump Controller, for Solar (PV) operation |  |  | 0
16 PSK2-60 Controller-45kVA-D | 33 | Pc. | 8949.123 | 295321.059
Item Code: 09-000230 |  |  | 0
Pump Controller, for Solar (PV) operation |  |  | 0
17 PSK2-70 Controller-55kVA-D | 6 | Pc. | 10244.2185 | 61465.311
Item Code: 09-000240 |  |  | 0
Pump Controller, for Solar (PV) operation |  |  | 0
18 PSK2-100 Controller-75kVA-D | 2 | Pc. | 11835.9158 | 23671.8315
Item Code: 09-000220 |  |  | 0
19 PV Disconnect 1000-50-5 | 157 | Pc. | 212.7937 | 33408.6188
Item Code: 19-001965 |  |  | 0
20 PV Combiner 1000-125-4 | 51 | Pc. | 222.615 | 11353.365
Item Code: 19-000122 |  |  | 0
Connection box for parallel wiring 1000VDC/125A, max. 4 strings, plastic box, IP68 |  |  | 0
21 PV Protect 1000-125 | 52 | Pc. | 242.2575 | 12597.39
Item Code: 19-001970 |  |  | 0
Surge Protective Device for PV Systems, 1000VDC/125A, plastic box, IP68 |  |  | 0
22 PV Disconnect 1000-300-30 | 8 | Set | 2814.1155 | 22512.924
Item Code: 19-000113 |  |  | 0
PV Disconnect switch 1000VDC/ 300A, max. 30 strings, IP54 , internal surge protection |  |  | 0
23 Well probe sensor V2 | 60 | Set | 64.1655 | 3849.93
Item Code: 19-000005 |  |  | 0
Water level sensor for dry run protection. POM protection enclosure, max. 5 bar |  |  | 0
24 Cable splice kit 6-10sqmm | 1 | Set | 18.9877 | 18.9877
Item Code: 19-000020 |  |  | 0
Submersible cable splice kit for ECDRIVE, 6 to 10sqmm |  |  | 0
25 Surge Protector 2 | 60 | Pc. | 21.6067 | 1296.405
Item Code: 19-005210 |  |  | 0
26 Liquid Pressure Sensor, LPS-1000 | 60 | Set | 158.4495 | 9506.97
Item Code: 19-004460 |  |  | 0
0-1000kPa, AISI304, G1/2", 4..20mA, 11-28VDC, 0.5%FS |  |  | 0
27 Pump wire, 3x6sqmm & 1x4sqmm, round | 55 | m | 9.1665 | 504.1575
Item Code: 19-000620 |  |  | 0
28 Pump wire, 3x16sqmm & 1x6sqmm, round | 693 | m | 17.6782 | 12251.0272
Item Code: 19-000680 |  |  | 0
29 Pump Wire, 3x25sqmm & 1x10sqmm, round | 1694 | m | 24.2258 | 41038.4205
Item Code: 19-000692 |  |  | 0
30 Pump wire, 3x35sqmm & 1x 10sqmm, round | 1059 | m | 24.0424 | 25460.9228
Item Code: 19-001700 |  |  | 0
31 Pump wire, 3x50sqmm & 1x 16sqmm, round | 1130 | m | 32.5149 | 36741.82
Item Code: 19-001710 |  |  | 0
32. Pump wire, 3x70sqmm & 1x 25sqmm, round | 525 | m | 45.3152 | 23790.5049
Item Code: 19-000695 |  |  | 0
33 LC540-M144, 540 W PV-Module | 10044 | Set | 170.8897 | 1716416.649
Item Code: 23-000620 |  |  | 0
Photo Voltaic Module, Mono Crystalline, junction box, cable |  |  | 0
Spare parts |  |  | 0
34. PSk2-40, mainboard | 2 | Pc. | 541.4783 | 1082.9565
Item Code: 35-102960 |  |  | 0
35. PSk2-xx, IO board, blue door | 3 | Pc. | 75.2963 | 225.8888
Item Code: 35-102970 |  |  | 0
36. Cooling Fan kit for PSK2(gray and blue door) | 3 | Pc. | 72.0225 | 216.0675
Item Code: 35-101115 |  |  | 0
Cooling Fan kit for PSK2(gray and blue door) |  |  | 0
37. IGBT-Replacement Kit (PM150CL1A120), for PSk2-21 to PSk240 | 1 | Set | 925.1617 | 925.1617
Item Code: 35-103064 |  |  | 0
38. PSk2-100, mainboard | 4 | Pc. | 285.471 | 1141.884
Item Code: 35-002710 |  |  | 0
39. PSk2-xx, IO board, blue door | 4 | Pc. | 75.2963 | 301.185
Item Code: 35-102970 |  |  | 0
40. Cooling Fan kit 24cm, 28cm, 39cm, 24VDC, for PSK2-100k | 4 | Pc. | 191.8417 | 767.367
Item Code: 35-002760 |  |  | 0
41. Fan Assembly,External Fan Assembly, PSk2-100k | 4 | Pc. | 1385.451 | 5541.804
Item Code: 35-002770 |  |  | 0
42. PSk2-60/70/100, PWM Board | 4 | Pc. | 111.9622 | 447.849
Item Code: 35-002720 |  |  | 0
Kobo Girana - Sub Total US$ |  |  |  | 2976460.4548
Product Description | Qty | Unit | Price | Total US$
Submersible Pump, Motor, Controllers and Solar PV Module
1. PE C-SJ17-7, Rp 2 1/2" | 1 | Pc. | 1014.8625 | 1014.8625
Item Code: 14-000375 |  |  | 0
Multi-stage Centrifugal Pump End, non-return valve |  |  | 0
2. PE C-SJ8-30, 6", RP2" | 2 | Pc. | 1213.9065 | 2427.813
Item Code: 14-000255 |  |  | 0
Multi-stage Centrifugal Pump End, non-return valve |  |  | 0
3. PE C-SJ17-9, Rp 2 1/2" | 3 | Pc. | 1018.1363 | 3054.4088
Item Code: 14-000800 |  |  | 0
Multi-stage Centrifugal Pump End, non-return valve |  |  | 0
4. PE C-SJ17-11, Rp 2 1/2" | 1 | Pc. | 1369.0823 | 1369.0823
Item Code: 14-000380 |  |  | 0
Multi-stage Centrifugal Pump End, non-return valve |  |  | 0
5. PE C-SJ30-12, Rp 3" | 4 | Pc. | 1638.8392 | 6555.357
Item Code: 14-000480 |  |  | 0
Multi-stage Centrifugal Pump End, non-return valve |  |  | 0
6. PE C-SJ75-4, Rp 5" | 1 | Pc. | 2232.0428 | 2232.0428
Item Code: 14-000700 |  |  | 0
Multi-stage Centrifugal Pump End, non-return valve |  |  | 0
7. PE C-SJ17-26, Rp 2 1/2" | 4 | Pc. | 2738.1645 | 10952.658
Item Code: 14-000415 |  |  | 0
Multi-stage Centrifugal Pump End, non-return valve |  |  | 0
8. PE C-SJ30-22, Rp 3" | 1 | Pc. | 2899.8877 | 2899.8877
Item Code: 14-000515 |  |  | 0
Multi-stage Centrifugal Pump End, non-return valve |  |  | 0
9. PE C-SJ30-35, Rc3" | 3 | Pc. | 5631.5048 | 16894.5143
Item Code: 14-008510 |  |  | 0
Multi-stage Centrifugal Pump End, non-return valve |  |  | 0
10 PE C-SJ42-19, Rp 3" | 3 | Pc. | 3870.882 | 11612.646
Item Code: 14-008370 |  |  | 0
Multi-stage Centrifugal Pump End, non-return valve |  |  | 0
11 PE C-SJ75-12, Rp 5" | 3 | Pc. | 4693.9028 | 14081.7082
Item Code: 14-008650 |  |  | 0
Multi-stage Centrifugal Pump End, non-return valve |  |  | 0
12 PE C-SJ75-15, Rp 5" | 3 | Pc. | 5631.5048 | 16894.5143
Item Code: 18-000360 |  |  | 0
Submersible AC DRIVE, water filled 8", three phase |  |  | 0
13 PE C-SJ120-8, Rp 6" | 1 | Pc. | 6743.925 | 6743.925
Item Code: 14-008550 |  |  | 0
Multi-stage Centrifugal Pump End, non-return valve |  |  | 0
14 PE C-SJ150-7-2, Rp 6" | 2 | Pc. | 6136.9717 | 12273.9435
Item Code: 14-008530 |  |  | 0
Multi-stage Centrifugal Pump End, non-return valve |  |  | 0
15 PE C-SJ95-17, Rp 5" | 8 | Pc. | 6912.8505 | 55302.804
Item Code: 14-008540 |  |  | 0
Multi-stage Centrifugal Pump End, non-return valve |  |  | 0
16 AC Drive Sub 6" 5.5kW-380V-3ph-50Hz | 6 | Pc. | 1342.2375 | 8053.425
Item Code: 18-000040 |  |  | 0
Submersible AC DRIVE, water filled 6", three phase |  |  | 0
17 AC Drive Sub 6" 11kW-380V-3ph-50Hz | 5 | Pc. | 1733.1233 | 8665.6163
Item Code: 18-000060 |  |  | 0
Submersible AC DRIVE, water filled 6", three phase |  |  | 0
18 AC Drive Sub 6" 15kW-380V-3ph-50Hz | 5 | Pc. | 2016.63 | 10083.15
Item Code: 18-000070 |  |  | 0
Submersible AC DRIVE, water filled 6", three phase |  |  | 0
19 AC Drive Sub 6" 18.5kW-380V-3ph-50Hz | 1 | Pc. | 2245.7925 | 2245.7925
Item Code: 18-000071 |  |  | 0
Submersible AC DRIVE, water filled 6", three phase |  |  | 0
20 AC Drive Sub 6" 30kW-380V-3ph-50Hz | 6 | Pc. | 2886.138 | 17316.828
Item Code: 18-000072 |  |  | 0
Submersible AC DRIVE, water filled 6", three phase |  |  | 0
21 AC Drive Sub 8" 45kW 380V-3ph-50Hz | 3 | Pc. | 4828.7812 | 14486.3438
Item Code: 18-000350 |  |  | 0
Submersible AC DRIVE, water filled 8", three phase |  |  | 0
22 AC Drive Sub 8" 55kW 380V-3ph-50Hz | 3 | Pc. | 5361.7478 | 16085.2433
Item Code: 18-000360 |  |  | 0
Submersible AC DRIVE, water filled 8", three phase |  |  | 0
23 AC Drive Sub 8" 75kW 380V-3ph-50Hz | 11 | Pc. | 6784.5195 | 74629.7145
Item Code: 18-000190 |  |  | 0
Submersible AC DRIVE, water filled 8", three phase |  |  | 0
24 PSk3-7 Controller-5.5kW | 6 | Pc. | 1706.2785 | 10237.671
Item Code: 09-000260 |  |  | 0
Pump Controller, for Solar (PV) operation |  |  | 0
25 PSk3-15 Controller-11kW | 5 | Pc. | 1938.7148 | 9693.5737
Item Code: 09-000250 |  |  | 0
Pump Controller, for Solar (PV) operation |  |  | 0
26 PSk2-21 Controller-15kVA-D | 5 | Pc. | 4862.1735 | 24310.8675
Item Code: 09-000180 |  |  | 0
Pump Controller, for Solar (PV) operation |  |  | 0
27 PSk2-25 Controller-18.5kVA-D | 1 | Pc. | 5435.7345 | 5435.7345
Item Code: 09-000190 |  |  | 0
Pump Controller, for Solar (PV) operation |  |  | 0
28 PSk2-40 Controller-30kVA-D | 6 | Pc. | 5968.701 | 35812.206
Item Code: 09-000200 |  |  | 0
Pump Controller, for Solar (PV) operation |  |  | 0
29 PSK2-60 Controller-45kVA-D | 3 | Pc. | 8949.123 | 26847.369
Item Code: 09-000230 |  |  | 0
Pump Controller, for Solar (PV) operation |  |  | 0
30 PSK2-70 Controller-55kVA-D | 3 | Pc. | 10244.2185 | 30732.6555
Item Code: 09-000240 |  |  | 0
Pump Controller, for Solar (PV) operation |  |  | 0
31 PSK2-100 Controller-75kVA-D | 11 | Pc. | 11835.9158 | 130195.0733
Item Code: 09-000220 |  |  | 0
32. PV Disconnect 1000-50-5 | 48 | Pc. | 212.7937 | 10214.1
Item Code: 19-001965 |  |  | 0
33 PV Combiner 1000-125-4 | 32 | Pc. | 222.615 | 7123.68
Item Code: 19-000122 |  |  | 0
Connection box for parallel wiring 1000VDC/125A, max. 4 strings, plastic box, IP68 |  |  | 0
34 PV Protect 1000-125 | 26 | Pc. | 242.2575 | 6298.695
Item Code: 19-001970 |  |  | 0
Surge Protective Device for PV Systems, 1000VDC/125A, plastic box, IP68 |  |  | 0
35 PV Disconnect 1000-300-30 | 14 | Set | 2814.1155 | 39397.617
Item Code: 19-000113 |  |  | 0
PV Disconnect switch 1000VDC/ 300A, max. 30 strings, IP54 , internal surge protection |  |  | 0
36 Well probe sensor V2 | 40 | Set | 64.1655 | 2566.62
Item Code: 19-000005 |  |  | 0
Water level sensor for dry run protection. POM protection enclosure, max. 5 bar |  |  | 0
37 Cable splice kit 6-10sqmm | 16 | Set | 18.9877 | 303.804
Item Code: 19-000020 |  |  | 0
Submersible cable splice kit for ECDRIVE, 6 to 10sqmm |  |  | 0
38 Surge Protector 2 | 40 | Pc. | 21.6067 | 864.27
Item Code: 19-005210 |  |  | 0
39 Liquid Pressure Sensor, LPS-1000 | 40 | Set | 158.4495 | 6337.98
Item Code: 19-004460 |  |  | 0
0-1000kPa, AISI304, G1/2", 4..20mA, 11-28VDC, 0.5%FS |  |  | 0
40 Pump wire, 3x6sqmm & 1x4sqmm, round | 633 | m | 9.1665 | 5802.3945
Item Code: 19-000620 |  |  | 0
41 Pump wire, 3x8sqmm & 1x4sqmm, round | 271 | m | 12.4402 | 3371.3077
Item Code: 19-000640 |  |  | 0
42 Pump wire, 3x10sqmm & 1x6sqmm, round | 147 | m | 15.0593 | 2213.7098
Item Code: 19-000660 |  |  | 0
43 Pump wire, 3x16sqmm & 1x6sqmm, round | 317 | m | 17.6782 | 5604.0052
Item Code: 19-000680 |  |  | 0
44 Pump Wire, 3x25sqmm & 1x10sqmm, round | 817 | m | 24.2258 | 19792.4378
Item Code: 19-000692 |  |  | 0
45 Pump wire, 3x50sqmm & 1x 16sqmm, round | 1150 | m | 32.5149 | 37392.1177
Item Code: 19-001710 |  |  | 0
46 Pump wire, 3x70sqmm & 1x 25sqmm, round | 408 | m | 45.3152 | 18488.621
Item Code: 19-000695 |  |  | 0
47 Pump wire, 3x95sqmm & 1x 35sqmm, round | 1841 | m | 58.8096 | 108268.5564
Item Code: 19-001720 |  |  | 0
48 Pump wire, 3x120sqmm & 1x 70sqmm, round | 213 | Pc. | 74.3731 | 15841.4602
Item Code: 29-000010 |  |  | 0
49 LC540-M144, 540 W PV-Module | 9273 | Set | 170.8897 | 1584660.6517
Item Code: 23-000620 |  |  | 0
Photo Voltaic Module, Mono Crystalline, junction box, cable |  |  | 0
Booster pump, Controllers and Pressure sensor |  |  | 0
50 PU40K CS-F85-40, 4" | 24 | Set | 8841.744 | 212201.856
Item Code: 10-008190 |  |  | 0
Surface Pump Unit, Multi-stage Centrifugal, 380VAC-30kW-50Hz |  |  | 0
51 PSk2-40 Controller-30kVA-D | 24 | Pc. | 5968.701 | 143248.824
Item Code: 09-000200 |  |  | 0
Pump Controller, for Solar (PV) operation |  |  | 0
52 PV Disconnect 1000-50-5 | 96 | Pc. | 212.7937 | 20428.2
Item Code: 19-001965 |  |  | 0
53 PV Combiner 1000-125-4 | 24 | Pc. | 222.615 | 5342.76
Item Code: 19-000122 |  |  | 0
Connection box for parallel wiring 1000VDC/125A, max. 4 strings, plastic box, IP68 |  |  | 0
54 PV Protect 1000-125 | 24 | Pc. | 242.2575 | 5814.18
Item Code: 19-001970 |  |  | 0
Surge Protective Device for PV Systems, 1000VDC/125A, plastic box, IP68 |  |  | 0
55 Surge Protector 2 | 24 | Pc. | 21.6067 | 518.562
Item Code: 19-005210 |  |  | 0
56 Liquid Pressure Sensor, LPS-1000 | 24 | Pc. | 158.4495 | 3802.788
Item Code: 19-004460 |  |  | 0
0-1000kPa, AISI304, G1/2", 4..20mA, 11-28VDC, 0.5%FS |  |  | 0
57 Water sensor, pipe inst. | 24 | Pc. | 187.2585 | 4494.204
Item Code: 19-000001 |  |  | 0
Water sensor w. 2 electrodes for pipeline installation wo. weld adaptor |  |  | 0
58 Steel adaptor | 24 | Pc. | 17.6782 | 424.278
Item Code: 19-000003 |  |  | 0
Steel adaptor for water sensor |  |  | 0
59 Float Switch | 24 | Pc. | 20.2972 | 487.134
Item Code: 19-000030 |  |  | 0
Float Switch for tank, 2m cable, change-over switch function |  |  | 0
Spare parts |  |  | 0
60 ontrol board, PSk3-7 | 2 | Pc. | 126.3667 | 252.7335
Item Code: 35-005240 |  |  | 0
Control board (green), including cables for PSk3-7 |  |  | 0
61 IO board, PSk3-7/15 | 2 | Pc. | 83.1532 | 166.3065
Item Code: 35-005260 |  |  | 0
IO board (blue), including cables for PSk3-7/15 |  |  | 0
62 Power board, PSk3-7/15 | 2 | Pc. | 339.1605 | 678.321
Item Code: 35-005270 |  |  | 0
Power board (red), including cables for PSk3-7/15 |  |  | 0
63 IGBT kit, PSk3-7/15 | 1 | Pc. | 130.2953 | 130.2953
Item Code: 35-005280 |  |  | 0
IGBT module with thermal paste for PSk3-7/15 |  |  | 0
64 Cooling kit, PSk3-7/15 | 1 | Pc. | 83.1532 | 83.1532
Item Code: 35-005290 |  |  | 0
External fan, including cables for PSk3-7/15 |  |  | 0
65 Control board, PSk3-15 | 2 | Pc. | 126.3667 | 252.7335
Item Code: 35-005250 |  |  | 0
Control board (green), including cables for PSk3-15 |  |  | 0
66 IO board, PSk3-7/15 | 2 | Pc. | 83.1532 | 166.3065
Item Code: 35-005260 |  |  | 0
IO board (blue), including cables for PSk3-7/15 |  |  | 0
67 Power board, PSk3-7/15 | 2 | Pc. | 339.1605 | 678.321
Item Code: 35-005270 |  |  | 0
Power board (red), including cables for PSk3-7/15 |  |  | 0
68 IGBT kit, PSk3-7/15 | 1 | Pc. | 130.2953 | 130.2953
Item Code: 35-005280 |  |  | 0
IGBT module with thermal paste for PSk3-7/15 |  |  | 0
69 Cooling kit, PSk3-7/15 | 1 | Pc. | 83.1532 | 83.1532
Item Code: 35-005290 |  |  | 0
External fan, including cables for PSk3-7/15 |  |  | 0
70 PSk2-xx, IO board, blue door | 2 | Pc. | 75.2963 | 150.5925
Item Code: 35-102970 |  |  | 0
71 Cooling Fan kit for PSK2(gray and blue door) | 2 | Pc. | 72.0225 | 144.045
Item Code: 35-101115 |  |  | 0
Cooling Fan kit for PSK2(gray and blue door) |  |  | 0
72 PSk2-21, mainboard | 1 | Pc. | 324.756 | 324.756
Item Code: 35-102940 |  |  | 0
73 PSk2-25, mainboard | 1 | Pc. | 447.1943 | 447.1943
Item Code: 35-102950 |  |  | 0
74 PSk2-xx, SmartPSUk2, power supply 24V | 2 | Pc. | 432.7898 | 865.5795
Item Code: 35-103050 |  |  | 0
75 PSk2-40, mainboard | 1 | Pc. | 541.4783 | 541.4783
Item Code: 35-102960 |  |  | 0
76 PSk2-xx, IO board, blue door | 2 | Pc. | 75.2963 | 150.5925
Item Code: 35-102970 |  |  | 0
77 Cooling Fan kit for PSK2(gray and blue door) | 2 | Pc. | 72.0225 | 144.045
Item Code: 35-101115 |  |  | 0
Cooling Fan kit for PSK2(gray and blue door) |  |  | 0
78 IGBT-Replacement Kit (PM150CL1A120), for PSk2-21 to PSk2- 40 | 1 | Set | 925.1617 | 925.1617
Item Code: 35-103064 |  |  | 0
79 PSk2-100, mainboard | 2 | Pc. | 285.471 | 570.942
Item Code: 35-002710 |  |  | 0
80 PSk2-xx, IO board, blue door | 3 | Pc. | 75.2963 | 225.8888
Item Code: 35-102970 |  |  | 0
81. Cooling Fan kit 24cm, 28cm, 39cm, 24VDC, for PSK2-100k | 2 | Pc. | 191.8417 | 383.6835
Item Code: 35-002760 |  |  | 0
Borena - Sub Total US$ |  |  |  | 2867941.8231
Kobo Girana and Borena Grand Total US$ |  |  |  | 5844402.2779

## 1.2.1.1 Consultanting Firms
1.2.1.1: Conduct a detailed site survey to plan the pipe network and irrigation infrastructure layout. | Unit | Quantity | Unit Price (US$) | Total Price (US$)
National consulting firm: Surveyor's and Agronomists | National Consultants | 6 | 5000 | 30000
International consulting firm: Civil Eng., Irrigation Specialists, Geo-Technical Eng., Electrical Eng., and GIS Specialist | International Consultants | 10 | 9000 | 90000
Fuel cost | Lts | 24000 | 1.28 | 30720
Accomodation | days | 300 | 47.6 | 14280
Perdiem to national consultants | days | 300 | 50 | 15000
Kobo Girana and Borena Grand Total US$ |  |  |  | 180000

## 1.2.1.2.Pipes and Fittings
S.No | Description | Unit | Quantity | Unit Price (US$) | Total Price (US$)
1 | Conductors and accessories
1.1 | Hydrostatic water level sensor | Pcs | 300 | 43.4401 | 13032.0433
1.2 | Stainless steel level electrode for wells and bore hole | Pcs | 100 | 50.3654 | 5036.5385
1.3 | Bore hole support plate DN350, PN10 | Pcs | 100 | 36.5149 | 3651.4904
1.4 | Electric cable from pump to control inverter(3x95mm2+50mm2) | m | 7600 | 70.0079 | 532059.9231
1.5 | Electric cable from pv module to control inverter(3x95mm2+50mm2) | m | 2000 | 32.2338 | 64467.6923
1.6 | Earthing Material (pure Copper) Earthing rod made of copper, length 1.5meter, Diameter 16mm2. | Pc | 100 | 251.8269 | 25182.6923
2 | Array stand for required PV modules (Concrete) and aluminum support structure for required PV modules | LS | 100 | 11080.3846 | 1108038.4615
3 | Supply and installation of pipes and fittings |  |  | 0
3.1 | Trench excavation (1x0.8x920) | m3 | 664000 | 3.1478 | 2090163.4615
3.2 | Double flanged 90° GS elbow DN200, PN10 | pcs | 100 | 420.0473 | 42004.7308
3.3 | Double flanged Gate valve, DN50,PN10 Equipped with a hand wheel operating. | pcs | 200 | 358.2238 | 71644.7596
3.4 | Flanged double air release valve, DN50 PN10 | pcs | 200 | 210.2755 | 42055.0962
3.5 | Double Flanged GS Pipe D200, PN10 ,L=4m with Single flanged dn50 short pipe L=200mm,welded in the middle | pcs | 100 | 435.6606 | 43566.0577
3.6 | Rubber compensator, DN200, PN10 | pcs | 100 | 180.6858 | 18068.5817
3.7 | Double Flanged GS Pipe with puddle at center DN200, PN10, L=1.2m and connection for pressure gauge | pcs | 100 | 249.3087 | 24930.8654
3.8 | Pressure sustaining valve, DN200, PN10 | pcs | 100 | 822.2149 | 82221.4904
3.9 | Flange dismantling for steel pipe, DN200, PN10 | pcs | 100 | 289.601 | 28960.0962
3.1 | Pressure gauge glycerin filled, scale 0-10 bars | pcs | 100 | 168.724 | 16872.4038
3.11 | Single Flanged GS Pipe DN200,PN10, L=1.2m. | pcs | 100 | 322.3385 | 32233.8462
3.12 | Waltman type water meter, DN200, PN10 | pcs | 100 | 540.1688 | 54016.875
3.13 | Double Flanged GS Pipe DN200, PN10, L=0.5m. | pcs | 100 | 163.6875 | 16368.75
3.14 | Gate valve, DN200, PN10.Equipped with a hand wheel operating | pcs | 100 | 570.388 | 57038.7981
3.15 | Double Flanged GS Pipe with puddle DN200, PN10, L=1m and welded with single flanged GS Pipe DN50, PN10 L=0.2m at the right side of the pipe | pcs | 100 | 642.1587 | 64215.8654
3.16 | Double Flanged DCI 45° Elbow DN200, PN10 | pcs | 200 | 402.9231 | 80584.6154
3.17 | Double Flanged GS Pipe DN200, PN10,L=2.80m | pcs | 100 | 501.1356 | 50113.5577
3.18 | Pressure switch, working range 0-10 bar, ½” male connection. | pcs | 100 | 155.9942 | 15599.4188
3.19 | Double Flanged GS Pipe DN200, PN10, L=0.75m. | pcs | 100 | 135.435 | 13543.5038
3.2 | Heavy duty Galvanined Steel Riser pipe threaded connection , DN200,PN60 with accessories end connection pipe to submersible pump,L=6m | pcs | 2300 | 566.6106 | 1303204.3269
3.21 | Double flanged Check valve DN200,PN10 | pcs | 100 | 554.0192 | 55401.9231
3.22 | Digital water meters fit for upto DN 200 pipes | pcs | 100 | 1024 | 102400
| Grand Total Kobo Girana and Borena |  |  |  | 6038609.2831

## 1.2.1.3. Excavation and prep
KOBO-GIRANA DRIP IRRIGATION PROJECT
A1 | BILL 1. OF QUANTITY OF BASIC DISTRIBUTION OF DRIP IRRIGATION SYSTEM
S.No. | Item Description | Unit | Qty | Unit price $ Dollar | Total amount $ Dollar
1.1 | Laterals
1.1.1 | LDPE pipe drip lateral,16mm | m | 210560 | 5.9343 | 1249524.1088
1.1.2 | Barbed Head Connector/take off,16mmx16mm with rubber(grommet) | No | 9100 | 22.8717 | 208132.8597
1.1.3 | Connectors,16mm | No | 2400 | 22.0063 | 52815.1813
1.1.4 | Endline Clamp,16mm | No | 9000 | 1.0509 | 9457.7747
| Sub Total |  |  | 0 | 1519929.9245
1.2 | Manifolds |  |  | 0
1.2.1 | HDPE pipe 63mm | m | 10600 | 43.7654 | 463913.1231
1.2.2 | Compression coupler (63mmx63mm) | No | 240 | 68.094 | 16342.56
1.2.3 | Plastic End Cap 63mm | No | 240 | 29.4637 | 7071.3
| Sub Total |  |  | 0 | 487326.9831
1.3 | Control |  |  | 0
1.3.1 | Compression adaptor (63x63x1½″) | No | 240 | 42.5588 | 10214.1
1.3.2 | Adaptor (63 x63x1½″) | No | 240 | 37.9755 | 9114.12
1.3.3 | Solvent weld 90o PVC Elbow( 63mmx63mm) | No | 300 | 73.332 | 21999.6
1.3.4 | Adaptor (75x63x1½″) | No | 240 | 82.4985 | 19799.64
1.3.5 | Gate valve ,1½″ (F/M) | No | 180 | 88.3912 | 15910.425
1.3.6 | Air Release Valve 1″ | No | 60 | 549.99 | 32999.4
1.3.7 | Union(1½″ ) | No | 60 | 31.428 | 1885.68
1.3.8 | Pressure Regulator 1½″ (Pout=12m) | No | 60 | 714.987 | 42899.22
1.3.9 | PVC Pipe Class-10, 63mm(0.2m)/Nipple 1½″ | No | 300 | 294.6375 | 88391.25
| Sub Total |  |  | 0 | 243213.435
A2 | BILL OF QUANTITY OF DRIP ELBOW, FLUNG GATE, SOCKEY IRRIGATION DISTRIBUTION SYSTEM |  |  | 0
2.1 | SUBMAIN LINES |  |  | 0
2.1.1 | PVC/GLUE REDUCER 125E X 110 | pcs | 60 | 26.19 | 1571.4
2.1.2 | PVC/GLUE REDUCER 110E X 90 | pcs | 300 | 34.047 | 10214.1
2.1.3 | PVC/GLUE ELBOW 90 DEG 250 mm | pcs | 60 | 16.3687 | 982.125
2.1.4 | PVC/GLUE ELBOW 90 DEG 110 mm | pcs | 60 | 20.952 | 1257.12
2.1.5 | PVC/GLUE ELBOW 90 DEG 90 mm | pcs | 180 | 22.9162 | 4124.925
2.1.6 | PVC/TEE 125X125X110 mm | pcs | 60 | 22.9162 | 1374.975
2.1.7 | PVC/TEE 125X125X90 mm | pcs | 60 | 29.4637 | 1767.825
2.1.8 | PVC/TEE 250X125X125 mm | pcs | 60 | 42.5588 | 2553.525
2.1.9 | PVC/TEE 180X110X90 mm | pcs | 60 | 54.999 | 3299.94
2.1.10 | PVC/TEE 315X315X110 mm | pcs | 60 | 58.2728 | 3496.365
2.1.11 | PIPE PVC GLUED 6 ATM 90mm | m | 21860 | 52.38 | 1145026.8
2.1.12 | PIPE PVC GLUED 6 ATM 110mm | m | 21120 | 55.6538 | 1175407.2
2.1.13 | PIPE PVC GLUED 6 ATM 125mm | m | 21600 | 62.856 | 1357689.6
2.1.14 | PIPE PVC GLUED 6 ATM 250mm | m | 2160 | 72.0225 | 155568.6
2.1.15 | PVC/THREADED PLUG 2"M | pcs | 240 | 29.4637 | 7071.3
2.1.16 | PVC/GLUE SOCKET 90 mm | pcs | 19620 | 19.6425 | 385385.85
2.1.17 | PVC/GLUE SOCKET 110 mm | pcs | 7800 | 27.4995 | 214496.1
2.1.18 | PVC/GLUE SOCKET 125 mm | pcs | 3600 | 36.666 | 131997.6
2.1.19 | PVC/GLUE SOCKET 160 mm | pcs | 600 | 41.2493 | 24749.55
2.1.20 | PVC/GLUE SOCKET 180 mm | pcs | 360 | 49.1063 | 17678.25
| Sub Total |  |  | 0 | 4645713.15
2.2 | MAIN PIPE LINES |  |  | 0
2.2.1 | PIPE PVC PRESS. 6.3 ATM 315mm | m | 10960 | 104.76 | 1148169.6
2.2.2 | PIPE PVC PRESS. 6.3 ATM 250mm | m | 10696 | 101.4862 | 1085496.93
2.2.3 | PIPE PVC PRESS. 6.3 ATM 225 mm | m | 4452 | 98.2125 | 437242.05
2.2.4 | PIPE PVC PRESS. 6 ATM 200 mm | m | 8020 | 94.9387 | 761408.775
2.2.5 | PIPE PVC PRESS. 6 ATM 180 mm | m | 6736 | 91.665 | 617455.44
2.2.6 | PVC/PRESS DOUBLE SOCKET 250mm | pcs | 3024 | 36.0113 | 108898.02
2.2.7 | PVC/PRESS DOUBLE SOCKET 225mm | pcs | 714 | 35.6839 | 25478.2867
2.2.8 | PVC/PRESS DOUBLE SOCKET 200mm | pcs | 1248 | 34.7017 | 43307.784
2.2.9 | PVC/PRESS DOUBLE SOCKET 180mm | pcs | 1632 | 34.047 | 55564.704
2.2.10 | PVC/PRESS DOUBLE SOCKET 160mm | pcs | 2016 | 20.952 | 42239.232
2.2.11 | GATE VALVE, 10" | pcs | 48 | 43.8683 | 2105.676
2.2.12 | PVC/TEE 250X250X225 mm | pcs | 48 | 22.9162 | 1099.98
| Sub Total |  |  | 0 | 4328466.4778
| Kobo Girana Total cost |  |  |  | 11224649.9703
Detailed Engineering Cost Estimate for Borena Center Pivot Irrigation Project
Bill No. 1: Borena Site Center Pivot, Lateral Pipe and Drip, earth work and associated works
| Description | Unit | Quantity | Unit Rate $ Dollar | Amount $ Dollar
| Description | unit | Quantity | Unit Rate | Total Amount
Bill No.2: Borena Site CP Irrigation system works |  |  |  | 0
2 | Irrigation system works |  |  | 0
2.2.1 | H.T.BAUER RAINBOW(Aquaspin) Pivot(CP)- DYP 425 with system Length(5×59.8m+2×54.0m+17.6m) | Set | 24 | 86215.4097 | 2069169.8318
| Sub Total |  |  | 0 | 2069169.8318
0
Bill No.3: Borena Site Center Pivot Main Pipes and Fittings |  |  |  | 0
3 | Main and Manifold Pipes and fitting related works |  |  | 0
3.1 | PN 10 uPVC pipe with socketed and spigot ends for push-fit jointing including rubber seals and sufficient lubricants of dia. | m | 10968 | 27.6053 | 302774.5263
3.2 | PN10 uPVC Double socketed Reducers with sealing , ends compatible to standard uPVC pipes and water-tight sealing at zero bar pressures |  |  | 0 | -
3.2.1 | uPVC Reducer=315x180 | Pcs | 48 | 67.3209 | 3231.4053
3.3 | uPVC socketed Tee with sealing, ends compatible to standard uPVC pipes and water-tight sealing at zero bar pressures (for air release) |  |  | 0 | -
3.3.1 | 180x180x180 mm | Pcs | 48 | 50.6755 | 2432.4254
3.4 | Supply and fix well head system, valves and air valves |  |  | 0 | -
3.4.1 | Flanged Bend dia. 12" | pcs | 48 | 474.7694 | 22788.9311
3.4.2 | Flanged check valve dia 12'' | pcs | 24 | 881.7146 | 21161.1503
3.4.3 | Flanged gate valve dia. 12" | pcs | 24 | 847.8025 | 20347.2599
3.4.4 | Flanged water meter ND 315 PN 16 with roller counter measuring flow rate and total flow in m3 capacity Q= 144 m3/h | pcs | 24 | 1899.0776 | 45577.8622
3.4.5 | Flanged GS Tee dia 12'' x 6" x 12" |  | 72 | 406.9452 | 29300.0543
3.4.6 | Flanged GS Air valve dia 6'' | pcs | 24 | 264.5144 | 6348.3451
3.4.7 | Pressure Relief valve 6" Flanged | Pcs | 24 | 551.0716 | 13225.7189
3.4.8 | GS Flanged Pipe 12"/1 m length | Pcs | 24 | 529.0288 | 12696.6902
3.4.9 | UPVC Flanged adaptor with backing ring DN 315mm PN 16 | pcs | 24 | 472.1405 | 11331.3728
3.4.10 | uPVC Reducer=315x180(Socket +Reducer Bush) | pcs | 72 | 77.7672 | 5599.2404
3.5 | Air Release valve for main line double effect 2"(all components PN 10 unlessotherwise stated) |  |  | 0
3.5.1 | UPVC reducer Bush 180x90mm | Pcs | 72 | 32.4824 | 2338.7303
3.5.2 | UPVC Male Adaptor 90x2" | Pcs | 72 | 18.516 | 1333.1525
3.5.3 | UPVC pipe 90 mm/PN 6.30/ | m | 432 | 56.2093 | 24282.42
3.5.4 | UPVC Ball Valve 2" | Pcs | 48 | 79.3543 | 3809.0071
3.5.5 | Air Release valve 2" double effect for main line | Pcs | 48 | 595.1574 | 28567.5529
3.5.6 | Teflon 15m long | Pcs | 1200 | 1.3226 | 1587.0863
3.5.7 | Glue 1 Kg (Heavy Duty) (717 PVC Cement Solvent) | can | 720 | 35.2686 | 25393.3804
3.6 | Borehole to Blocks Delivery Line, Supply and installation of PN10 DN 180 mm delivery pipes |  |  | 0
3.7.1 | Supply and installation of delivery pipes with all accessories |  |  | 0
3.7.1.1 | Flanged Taper ( enlarger) DN150/315PN10, for uPVC | pcs | 24 | 881.7146 | 21161.1503
3.7.1.2 | Flanged Spigot DN180 PN10 | pcs | 24 | 333.1118 | 7994.6826
3.7.1.3 | UPVC 45 degree bend DN180 PN10 | pcs | 48 | 46.3782 | 2226.153
3.7.1.4 | UPVC Reducer Bush 315 x 180mm PN 10 | pcs | 48 | 77.7672 | 3732.8269
3.7.1.5 | GS PIPE DN 315 PN10, L=1m(for Support) | pcs | 24 | 793.5431 | 19045.0353
| Sub Total |  |  | 0 | 638286.1595
| Borena Total |  |  |  | 2707455.9913
| Grand Total Kobo Girana and Borena |  |  |  | 13932105.9617

## 1.2.1.4. Installation
S.No. | Item Description | Unit | Qty | Unit price $ Dollar | Total amount $ Dollar
1 | Genaral item
1.1 | Mobilization | LS | 60 | 1985.11 | 119106.6
1.2 | Intersite Mobilization | LS | 60 | 1148.9 | 68934
1.3 | Demobilization | LS | 60 | 1680 | 100800
| Sub Total |  |  | 0 | 288840.6
0
2 | Kobo-Girana Site Interceptor Drain Main Earth Work |  |  | 0
2.1 | Earth works |  |  | 0
2.1.1 | Clearing and stripping along the canal to remove vegetative material and top soil to a depth of 20 cm to formation level on completion and disposal of surplus in spoil tips including placing up to 500 m away | M2 | 104940.48 | 3.4493 | 361971.8357
2.1.2 | Excavation of ordinary soil up to 150cm depth from reduced level along the canal to design shape, slope and level of canal and bank to formation level on completion and disposal of surplus in spoil tips including placing up to 500m away as directed as per the drawing | m3 | 70800 | 4.8958 | 346621.8807
2.1.3 | Obtain excavated material from borrow pits and excavation material place as compacted fill in canal and left and right side banks to the design level including trimming, shaping and compaction on 250mm layers and proctor test as directed | m3 | 21698.96 | 10.385 | 225343.8635
| Sub Total |  |  | 0 | 933937.5799
| Kobo-Girana Site Interceptor Drain Main Structure (Canal Lined) Work |  |  | 0
2.2 | Provide and fill with hard basaltic or equivalent stone, well compacted and blinded with crushed stone and Peaching with 1:3 Mortar | m3 | 18.9 | 68.6152 | 1296.8278
2.2.1 | Excavation of ordinary soil to structure foundation to formation level | m3 | 119 | 3.4493 | 410.4674
2.2.2 | Compacted Fill |  |  | 0
2.2.3 | Supply, fill and compact approved back fill with selected material to the structure to formation level | m3 | 18.5 | 10.385 | 192.1226
2.2.4 | Stone Masonry |  |  | 0
2.2.5 | Provide and fill with hard basaltic or equivalent stone, well compacted and blinded with crushed stone and mason with 1:3 Mortar | m3 | 23 | 50.0706 | 1151.6232
2.2.6 | Mason Plastering | m2 | 110 | 5.4707 | 601.7741
| Sub Total |  |  | 0 | 3652.8151
| Kobo-girana Drip irrigation Project reserviour Structure and associated works |  |  | 0
2.3 | Reserviour |  |  | 0
2.3.1 | Earth work |  |  | 0
2.3.2 | Excavation for structure to formation level and disposal of surplus as fill in embankments or in spoil pits including placing and spreading up to 100m away | m3 | 152000 | 3.2762 | 497985.8384
2.3.3 | Obtain excavated material from channel and drains and place as compacted fill in canal embankment including trimming and shaping, free haul 500m including compaction on 250mm layers and proctor test | m3 | 81000 | 6.9233 | 560790.4079
2.3.4 | Main Structure |  |  | 0
2.3.5 | 400mm Thick Clay of reserviour side slope | m3 | 31000 | 10.6323 | 329600.3588
2.3.6 | 400mm Thick Clay of reserviour Bedding | m3 | 22700 | 10.6323 | 241352.5208
2.3.7 | 1.2mm Thick Geomembrane of reserviour side slope | m2 | 43900 | 10.5086 | 461329.2343
2.3.8 | 1.2mm Thick Geomembrane of reserviour bedding | m2 | 18600 | 10.5086 | 195460.6779
| Sub Total |  |  |  | 2286519.038
3 | 500m3 Steel reservoir | LS | 100 | 7160.375 | 716037.5
4 | Construction of reservoir stand and installation | LS | 100 | 4910.625 | 491062.5
5 | Construction of fence for PV generation site | LS | 100 | 3358.2379 | 335823.7933
6 | Transportation & installation of equipments | Site | 100 | 30848.7981 | 3084879.8077
| Sub Total |  |  | 0 | 4627803.601
| Kobo Girana - Total Cost |  |  |  | 8140753.6339
| Description | Unit | Quantity | Unit Rate $ Dollar | Amount $ Dollar
1 | Genaral item
1.1 | Mobilization | LS | 24 | 1061.5441 | 25477.0574
1.2 | Camping with its full facility | LS | 24 | 2670.1673 | 64084.0148
1.3 | Demobilization | LS | 24 | 1061.5441 | 25477.0574
| Sub Total |  |  | 0 | 115038.1296
2 | Earth work |  |  | 0
2.1 | Trench Excavation on normal soil to a depth of 1.5m on 5 m x 5m area | m3 | 900 | 3.9099 | 3518.8877
2.2 | Supply and compact approved selected materials 350mm thick under floor to depth 1.25 m | M3 | 796.32 | 10.5915 | 8434.2084
2.3 | Approved 25cm (basalt stone ) Hard core filling | M2 | 399.36 | 20.9658 | 8372.9085
2.4 | Trench Excavation on normal soil to a depth of 1.5m by 1m for coming inlet pipe | m3 | 296.4 | 4.1183 | 1220.6598
2.5 | Supply and installation of lateral and Center Pivot Mashine With its Accessaries |  |  | 0
2.6 | Transportation,Commission and Foreign Expatriate and Related Cost to install CPS and train experts | LS | LS | LS | 89664.026
2.7 | Trench Excavation on normal soil to a depth of 1.4m by 1m for delivery pipes laying buried | M3 | 13152 | 3.8795 | 51023.7656
2.8 | Provide 10 cm bedding before and after lay out of the pipe with selected granular material and well rammed in layers | M3 | 1104 | 15.1926 | 16772.6533
2.9 | Back fill with selected material above the crown of the pipe and well rammed in layers not exceeding 20 cm | M3 | 11406.72 | 15.1926 | 173297.9707
Borena Site CP Civil Works |  |  |  | 0
3 | Borehole Wellheads |  |  | 0
3.1 | 1200x1200x150 mm precast concrete slab | No | 24 | 30.5186 | 732.4467
3.2 | 200 mm thick hollow block work vertical wall | m2 | 96 | 16.3964 | 1574.051
3.3 | Rendering with 12 mm thick 1:5 cement/sand mortar with a wooden float to external faces of block work | m2 | 96 | 6.9782 | 669.9112
3.4 | Plastering with an under coat max. thickness 20 mm to BS 5492 to internal faces of block work | m2 | 144 | 10.6254 | 1530.0527
3.5 | Damp proof course | m | 120 | 21.1612 | 2539.338
3.6 | 650x650 x 3 mm lockable cover | No | 24 | 35.2686 | 846.446
| Sub Total |  |  | 0 | 7892.2457
4 | Site works |  |  | 0
4.1 | General clearance | m2 | 10656 | 5.7135 | 60883.1687
4.2 | Spreading and leveling to finished ground level using imported topsoil depth n.e. 250 mm thick | m2 | 10656 | 1.8714 | 19941.1169
4.3 | Vehicle access and hard standing within borehole compound | m2 | 2040 | 15.8709 | 32376.56
4.4 | Planting of approved grass seeding to spread and leveled ground | m2 | 1584 | 1.7634 | 2793.2718
4.5 | Precast concrete units for drainage channel | m | 888 | 17.6343 | 15659.2512
5 | Miscellaneous work |  |  | 0
5.1 | Barbed wire fencing consists of 2.5 mm barbed wire horizontal and diagonal member fixed to 2500 mm long concrete posts spaced every 1.5m, including all necessary material. | m | 1728 | 57.7826 | 99848.3967
5.2 | Gate with lock and key including concrete column on which the gate will be fixed as per the standard | No | 24 | 529.0288 | 12696.6902
| Sub Total |  |  | 0 | 244198.4556
0
6 | Borena Site Guard House with Solar Power Switch Board House Work |  |  | 0
| Excavation & Earth Work |  |  | 0
6.1 | Site clearance of the top soil to the depth of 20cm | m2 | 696.96 | 5.7135 | 3982.0883
6.2 | Bulk excavation in normal soil to a depth of 100cm | m3 | 322.56 | 5.8193 | 1877.0787
6.3 | Items 2.1.2 for excavation in any rock formation to a depth of 100cm | m3 | 47.52 | 13.2257 | 628.4862
6.4 | Cart away excavated material to a distance not exceeding 1km | m3 | 544.32 | 197.8215 | 107678.1916
6.5 | Filling to stated depth or thickness including compacting |  |  | 0
6.6 | 300 mm thick selected granular material | m2 | 264.96 | 2.2459 | 595.0746
6.7 | 250 mm thick hard - core | m2 | 264.96 | 6.8805 | 1823.07
6.8 | 500 mm thick excavated stone foundation with 1:3 cement / sand mortar | m3 | 236.16 | 52.8147 | 12472.7206
7 | Provide and place In - situ concrete to specifications and Grade C10/ blinding concrete |  |  | 0
7.1 | 50 mm thick blinding grade | m3 | 9.84 | 5.1051 | 50.2345
8 | Grade C20/ mass concrete |  |  | 0
8.1 | 100 mm thick ground slab | m3 | 19.44 | 126.1349 | 2452.0628
8.2 | 60 mm thick pavement | m3 | 25.92 | 126.1349 | 3269.417
8.3 | Grade C-25/reinforced concrete |  |  | 0
8.4 | Column type - C1 (200 by 200 mm) | m3 | 15.36 | 141.2898 | 2170.2117
8.5 | Internal tie beam (150 x 150 mm) - B1 & B2 | m3 | 115.2 | 141.2898 | 16276.588
8.6 | External tie beam (150 x 200 mm | m3 | 85.44 | 141.2898 | 12071.8028
8.7 | External lintel (150 x 200 mm) | m3 | 99.6 | 141.2898 | 14072.4667
8.8 | Grade beam (200 x 200 mm) - B1 & B2 | m3 | 231.84 | 141.2898 | 32756.6333
9 | Formwork |  |  | 0
9.1 | Grade beam | m2 | 301.44 | 11.9829 | 3612.1115
9.2 | Top Tie beam | m2 | 418.08 | 11.9829 | 5009.7916
9.3 | Lintel | m2 | 4.5 | 11.9829 | 53.9228
9.4 | Column | m2 | 593.28 | 11.9829 | 7109.1876
9.5 | High yield reinforcement steel bars to specifications | kg | 12000 | 11.9829 | 143794.2485
10 | Precast concrete structures |  |  | 0
10.1 | Precast concrete units for drainage channels | m | 360 | 44.2561 | 15932.1877
11 | Timber structures |  |  | 0
11.1 | Timber roof structures c.w. 70 x 50 mm ZIGBA purlin 200 x 25 mm facia board, fittings and fastening; span 2400 mm | No | 120 | 36.4504 | 4374.0521
12 | Light weight (hollow) block works |  |  | 0
12.1 | 150 mm thick hollow block work to internal vertical straight walls | m2 | 271.2 | 13.3749 | 3627.2742
12.2 | 200 mm thick hollow block work to internal vertical straight walls | m2 | 1060.8 | 16.3964 | 17393.2636
13 | Finishing Work |  |  | 0
13.1 | Rendering with 12 mm thick 1:3 cement/sand mortar with a wooden float to external faces of block work | m2 | 1300.8 | 6.9782 | 9077.2972
13.2 | Plastering with an undercoat max. thickness 20 mm to internal faces of block work | m2 | 988.8 | 10.6254 | 10506.3621
13.3 | Damp proof course | m | 816 | 19.3977 | 15828.5404
13.4 | Painting |  |  | 0
13.5 | Painting of smooth concrete surfaces: undercoat and plastic emulsion paint | m2 | 1569.6 | 4.1352 | 6490.675
14 | Water proofing |  |  | 0
14.1 | Water proofing sheeting of 500 gauge polythene to surfaces inclined at an angle n.e. 30 deg. To the horizontal: in one layer | m2 | 816 | 21.1612 | 17267.4986
14.2 | Metal Door & windows, frame, glazing and furniture |  |  | 0
14.3 | LTZ window (800 by 1200 mm) | No | 48 | 74.6357 | 3582.515
14.4 | LTZ door (900 by 2100 mm) | No | 48 | 124.7831 | 5989.5874
14.5 | Electrical Installation |  |  | 0 | 0
14.6 | Supply and install the required electrical installation | LS | 24 | 775.9088 | 18621.8123
14.7 | Sand and cement floor screed 30 mm thick, floated finish | m2 | 194.4 | 6.7402 | 1310.2908
14.8 | Galvanized roofing corrugated iron sheets Ethiopian 28 gauge ridge and valley pieces and fixing include grouting into wall | m2 | 348.96 | 17.1116 | 5971.268
14.9 | 50 x 10mm galvanized iron vent pipe to detail | no. | 48 | 361.503 | 17352.1432
14.1 | Galvanized steel for rain water collection inclusive of gutters, downpipes and fittings | m | 254.4 | 17.3655 | 4417.7947
| Sub Total |  |  | 0 | 529497.9514
Borena Site Center Pivot Interceptor Drain earth work |  |  |  | 0
15 | Borena Site Interceptor Drain Main Earth Work |  |  | 0
| Earth works |  |  | 0
15.1 | Clearing and stripping along the canal to remove vegetative material and top soil to a depth of 20 cm to formation level on completion and disposal of surplus in spoil tips including placing up to 500 m away | M2 | 164940.48 | 4.3407 | 715965.1872
15.2 | Excavation of ordinary soil up to 150cm depth from reduced level along the canal to design shape, slope and level of canal and bank to formation level on completion and disposal of surplus in spoil tips including placing up to 500m away as directed as per the drawing | m3 | 70800 | 5.643 | 399522.5176
15.3 | Obtain excavated material from borrow pits and excavation material place as compacted fill in canal and left and right side banks to the design level including trimming, shaping and compaction on 250mm layers and proctor test as directed | m3 | 31698.96 | 15.1926 | 481590.2767
| Sub Total |  |  | 0 | 1597077.9816
Borena Site center Pivot Interceptor Drain Structure and associated works |  |  |  | 0
16 | Borena Site Interceptor Drain Main Structure (Canal Lined) Work |  |  | 0
16.1 | Provide and fill with hard basaltic or equivalent stone, well compacted and blinded with crushed stone and Peaching with 1:3 Mortar | m3 | 26.5 | 70.5372 | 1869.2349
16.2 | Excavation of ordinary soil to structure foundation to formation level | m3 | 203 | 1.9398 | 393.7737
17 | Compacted Fill |  |  | 0
17.1 | Supply, fill and compact approved back fill with selected material to the structure to formation level | m3 | 18.5 | 3.1364 | 58.0241
18 | Stone Masonry |  |  | 0
18.1 | Provide and fill with hard basaltic or equivalent stone, well compacted and blinded with crushed stone and mason with 1:3 Mortar | m3 | 31 | 70.5372 | 2186.6522
18.2 | Mason Plastering | m2 | 110 | 3.7342 | 410.7661
| Sub Total |  |  | 0 | 4918.4511
0
Cattle Trough earthwork and associated structures |  |  |  | 0
19 | Site Works and Earth Works |  |  | 0
19.1 | Clearing and grubbing | m2 | 2160 | 4.3407 | 9376.0174
19.2 | Bulk excavation in ordinary soil to a depth not greater than 1.5m | m3 | 1872 | 5.643 | 10563.6462
19.3 | Ditto but in soft rock | m3 | 561.6 | 7.0537 | 3961.3673
19.4 | Graded gravel bed with average depth of 300mm and particle size ranging from 3 to 6mm | m3 | 624 | 31.5259 | 19672.1715
19.5 | Supply and place 250 mm thick hard trachyte stone hard core | m3 | 600 | 37.9609 | 22776.5469
20 | CONCRETE WORK |  |  | 0
20.1 | 50 mm thick C10 lean concrete under the cattle trough | m3 | 264 | 64.591 | 17052.034
20.2 | Supply and raise 350 mm high C20 concrete side walls above the ground level extended for 400 mm. | m2 | 216 | 74.5866 | 16110.7073
21 | PIPE WORKS |  |  | 0
21.1 | Install 20mm GS pipes. Price includes trench excavation and backfill. | m | 984 | 68.7821 | 67681.6163
21.2 | Install 20 mm GS threaded gate valve | No | 24 | 54.8922 | 1317.4124
21.3 | Install 20 mm GS threaded water meter | No | 24 | 36.1621 | 867.8899
21.4 | Install 20 mm GS faucet | No | 24 | 32.5644 | 781.546
21.5 | Supply and Install 50 mm GS pipe for draining the trough | m | 288 | 12.7031 | 3658.4898
| Sub Total |  |  | 0 | 173819.445
| Borena - Total Cost |  |  |  | 2672442.6598
| Grand Total Kobo Girana and Borena |  |  |  | 10813196.2938

## 1.2.1.5. Testing and commission
1.2.1.5: Test and commission the installed irrigation infrastructure and pipe networks for proper operation. | Unit | Quantity | Unit Price (US$) | Total Price (US$)
International consulting firm: Solar Power specialist, Electrical Eng., Pump Specialsit, Hydraulic Eng., Irrigation Specialist, Automation and Control systems Eng.and Water Quality specialist | Lump Sum | 1 | 300000 | 300000
Grand Total Kobo Girana and Borena |  |  |  | 300000
The following expertise within a specialized firm will be hired to test and commission solar-powered submersible pumps and watering irrigation infrastructure through drip and center pivot systems
*Expertiese requirement below is indicative and actuals might change
1. Solar Power Specialist
Relevant Expertise: Designing and optimizing solar power systems for agricultural and potable applications, troubleshooting and maintaining solar panels, and ensuring efficient energy conversion and storage.
2. Electrical Engineer
Relevant Expertise: Installing and testing electrical components of the solar-powered pumps, ensuring proper connections and system integration, and addressing electrical issues that may arise.
3. Pump Specialist
Relevant Expertise: Testing and commissioning submersible pumps, ensuring proper installation and operation, and troubleshooting any mechanical issues.
4. Hydraulic Engineer
Relevant Expertise: Designing and evaluating the hydraulic performance of thepotable and irrigation system, ensuring proper water distribution through drip and center pivot systems, and optimizing flow rates.
5. Irrigation Specialist
Relevant Expertise: Planning and testing irrigation infrastructure, ensuring efficient water delivery to crops, and optimizing irrigation schedules and patterns.
6. Automation and Control Systems Engineer
Relevant Expertise: Setting up and testing automated control systems for irrigation, integrating sensors and timers, and ensuring responsive and efficient system operation.
7. Water Quality Specialist
Relevant Expertise: Testing the quality of water being pumped and delivered, ensuring it meets necessary standards for potable and irrigation use, and recommending treatment solutions if needed.