## Methodology description (mitig)
Methodology | Title | Addressing suppressed demand | Applicability | Technology/measure | Baseline | Data requirements
AMS-I.B.ver.13 | Mechanical energy for the user with or without electrical energy | Yes, demostrating of one of the following: (a) The project activity is implemented in rural areas and the rate of rural electrification in the host country is less than 20%. The most recent available data on the electrification rates shall be used to demonstrate compliance with the 20% threshold. In no case shall data older than three years from the date of commencement of validation of the project activity be used; (b) The project activity is located in the Least Developed Countries (LDCs), Small Island Developing States (SIDs) or in special underdeveloped zone (SUZ) of a host country; (c) The project activity is implemented where there is increased demand for services (i.e. food/agro processing) and continued use of pre-project scenario would not able to meet the demand or the increased demand is partially met with the use of fossil fuel based equipment. | (a) To replacement or retrofitting of existing facilities (b) To greenfield facilities or project activities involving capacity additions; (c) Where generation capacity is specified, it shall be less than 15 MW. If the generation capacity is not specified, the estimated diesel-based electricity generating capacity that would be required to provide the same service or mechanical energy shall be less than 15 MW. In the case of irrigation where diesel-fuelled pumps are used directly, the cumulative rating of diesel-fuelled pumps shall not exceed 15 MW. The size of a diesel-based generator or a diesel pump that would be required shall be justified; (d) For irrigation applications involving replacement of the pump in addition to renewable energy use, the operating characteristics (head v/s discharge and efficiency) of the new pump should be similar to or better than the system being replaced or would have been replaced. In irrigation applications where the water distribution system is replaced or modified, the new system should have distribution efficiency similar to or better than the replaced system (e) If the project equipment includes renewable units and diesel fired units (e.g. a wind/diesel unit), the eligibility limit of 15 MW for a small-scale CDM project activity applies only to the renewable units. For co-fired systems,1 the total installed mechanical energy generation capacity of the project equipment, when using both fossil and renewable fuel, shall not exceed 15 MW; (f) In the case of project activities that involve the addition of renewable energy generation units at an existing renewable power generation facility, the added capacity of the units added by the project should be lower than 15 MW and should be physically distinct from the existing units; (g) In the case of retrofit or replacement, to qualify as a small-scale project, the total output of the retrofitted or replacement unit shall not exceed the limit of 15 MW. | ✓ Renewable energy generation units that supply individual or groups of households or users with mechanical energy, all of which is used on-site by the individual household(s) or user(s), such as wind-powered pumps, solar water pumps, water mills, agro processing mills and wind mills | ✓ In the absence of the project activity the project proponent shall demonstrate that the equipment used to generate the mechanical energy is a fossil fuel based generator(s) or pump(s) without renewable component or co-firing of renewable biomass. ✓Suppressed demand (i.e. minimum service level provided by the project technology is not met prior to project implementation): diesel based generator(s) or pump(s) is deemed to be the baseline. Suppressed baseline in case the project activity is located in the Least Developed Countries (LDCs), Small Island Developing States (SIDs) or in special underdeveloped zone (SUZ) of a host country | ✓Data required: (i) The power requirements times hours of operation per year times the emission factor for diesel generator systems, determined according to procedures specified in “AMS-I.A.: Electricity generation by the user”; (ii) The fossil fuel consumption per hour, conservatively converted to diesel fuel hourly consumption rate, times hours of operation per year times the default value for the emission coefficient for diesel fuel i.e. 0.0032 t CO2 per kg of diesel fuel; ✓Emission Factor: For Options 1 and 2, a default value of 0.8 kg CO2e/kWh, which is derived from diesel generation units, may be used. Small-scale project participants may select a different emissions factor from Table 2 of “AMS-I.F.: Renewable electricity generation for captive use and mini-grid” and appropriately justify the choice in the PDD. For option 3, EFCO2 shall be determined as per the “TOOL05: Baseline, project and/or leakage emissions from electricity consumption and monitoring of electricity generation”.

## Assumptions and parameters
Key parameters for GHG reduction estimations: Option 1 (AMS-I.B. Ver. 13)
Item | Unit | Value | Comment
Number of solar pumps to be installed | Number | 100 | Feasibility study data
Rated capacity of the solar pumps (all pumps) | kW | 4000 | Capacity of the solar pumps not of the solar panels/system. Feasibility study data
Rated capacity of the solar pumps (average per pump) | kW | 40 | Actual data (Kobo Girana and Borena)
Total rated capacity small pumps ( below 15 kW) | kW | 81.5 | Actual data (Kobo Girana and Borena)
Total rated capacity medium pumps ( between 15 and 35 kW) | kW | 828.5 | Actual data (Kobo Girana and Borena)
Total rated capacity large pumps (between 35 and 135 kW) | kW | 3090 | Actual data (Kobo Girana and Borena)
Average daily operating hours | h/day | 8 | Expected number of hours of operation of the pump per day
Average yearly operating time | days/year | 270 | Considering interruptions due to maintenance, malfunctions, etc.
Operating hours | h/year | 2160 | Calculated
Lifetime of the pumping system | years | 25 | For calculating the overall emission reductions --> feasibility study

## GHG estimates
Calculation test AMS-I.B. ver 13
| Value | Unit | Source
| 100 | N. (number of pumps) | Parameters sheet
| 40 | kW (rated capacity, average one pump) | Parameters sheet
| 8 | hours/day (operating hours) | Parameters sheet
| 270 | days/year (operating time over 1 year) | Parameters sheet
| 2160 | Total operating hours | Calculated
| 81.5 | Total capacity small pumps (i.e. below 15 kW) | Data from actual sites
| 828.5 | Total capacity medium pumps (i.e. between 15 and 35 kW) | Data from actual sites
| 3090 | Total capacity large pumps (i.e. between 35 and 135 kW) | Data from actual sites
| 0.9 | tCO2/MWh | Default emission factor from CDM tool 33 version 2 for capacities below 15 kW
| 0.8 | tCO2/MWh | Default emission factor from CDM tool 33 version 2 for capacities between 15 and 35 kW
| 0.8 | tCO2/MWh | Default emission factor from CDM tool 33 version 2 for capacities between 35 and 135 kW
| 158 | tCO2/year (total emission reductions per year, small pumps, below 15 kW) | Calculated
| 1432 | tCO2/year (total emission reductions per year, medium pumps, between 15 and 35 kW) | Calculated
| 5340 | tCO2/year (total emission reductions per year, large pumps between 35 and 135 kW) | Calculated
| 6929 | Average total emission reductions all pumps (tCO2/year) | Calculated
| 173220 | Total emission reductions all pumps over lifetime (tCO2) | Calculated
Assumptions
It is assumed that all pumps will be fully installed and operational by end of year 3, thus commencing to generate emisssion reductions from year 4. Similarly for the pumps installed in year 4, they will start generate emission reductions in year 5. In the last year of the technical life (i.e. after 20 years) only half of the pumps are expected to be still operational, thus the mitigaiotn potential is reduced.
Differences in the total mitigation potential is due to rounding.
Year
| Unit | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29
Pumps installed capacity below 15kW | kW | Year 1: 0; Year 2: 0; Year 3: 40; Year 4: 41.5
Cumulative value below 15 kW | kW | 0 | 0 | 40 | 81.5 | 81.5 | 81.5 | 81.5 | 81.5 | 81.5 | 81.5 | 81.5 | 81.5 | 81.5 | 81.5 | 81.5 | 81.5 | 81.5 | 81.5 | 81.5 | 81.5 | 81.5 | 81.5 | 81.5 | 81.5 | 81.5 | 81.5 | 81.5 | 81.5 | 40
Pumps installed capacity below 15kW | kW | Year 1: 0; Year 2: 0; Year 3: 414; Year 4: 414.5
Cumulative value between 15-35 kW | kW | 0 | 0 | 414 | 828.5 | 828.5 | 828.5 | 828.5 | 828.5 | 828.5 | 828.5 | 828.5 | 828.5 | 828.5 | 828.5 | 828.5 | 828.5 | 828.5 | 828.5 | 828.5 | 828.5 | 828.5 | 828.5 | 828.5 | 828.5 | 828.5 | 828.5 | 828.5 | 828.5 | 414
Pumps installed capacity between 35-135 kW | kW | Year 1: 0; Year 2: 0; Year 3: 1545; Year 4: 1545
Cumulative value between 35 - 135 kW | kW | 0 | 0 | 1545 | 3090 | 3090 | 3090 | 3090 | 3090 | 3090 | 3090 | 3090 | 3090 | 3090 | 3090 | 3090 | 3090 | 3090 | 3090 | 3090 | 3090 | 3090 | 3090 | 3090 | 3090 | 3090 | 3090 | 3090 | 3090 | 1545
Electricity generation | MWh | 0 | 0 |  | 4317.84 | 8640 | 8640 | 8640 | 8640 | 8640 | 8640 | 8640 | 8640 | 8640 | 8640 | 8640 | 8640 | 8640 | 8640 | 8640 | 8640 | 8640 | 8640 | 8640 | 8640 | 8640 | 8640 | 8640 | 8640 | 4317.84
Cumulative electricity generation | MWh | 0 | 0 | 0 | 4317.84 | 12957.84 | 21597.84 | 30237.84 | 38877.84 | 47517.84 | 56157.84 | 64797.84 | 73437.84 | 82077.84 | 90717.84 | 99357.84 | 107997.84 | 116637.84 | 125277.84 | 133917.84 | 142557.84 | 151197.84 | 159837.84 | 168477.84 | 177117.84 | 185757.84 | 194397.84 | 203037.84 | 211677.84 | 215995.68
Emission reductions | tCO2e | 0 | 0 |  | 3462 | 6929 | 6929 | 6929 | 6929 | 6929 | 6929 | 6929 | 6929 | 6929 | 6929 | 6929 | 6929 | 6929 | 6929 | 6929 | 6929 | 6929 | 6929 | 6929 | 6929 | 6929 | 6929 | 6929 | 6929 | 3462
Cumulative emission reductions | tCO2e | 0 | 0 |  | 3462 | 10391 | 17320 | 24249 | 31178 | 38107 | 45036 | 51965 | 58894 | 65823 | 72752 | 79681 | 86610 | 93539 | 100468 | 107397 | 114326 | 121255 | 128184 | 135113 | 142042 | 148971 | 155900 | 162829 | 169758 | 173220

## Kobo Girana
Kobo Girana Submersible system, Solar PV and Inverter setup
SN# | Description | Pump |  |  | Solar PV |  |  |  |  | Inverter |  |  | Cable
| BH | Kw | Head (m) | Q (m3/hr) | Wp | Qty | Vmp | A (max) | A (m2) | Kw | Pump to inverter | PV to Inverter | SxP | Pump Dia | Casing dia
5 | WG31 | 15 | 39 | 87.696 | 540 | 54 | 575 | 160 | 166 | 32 | 4x6 | 4x6 | 18 X 3 | 6 | 12
1 | WG9 | 30 | 76 | 108 | 540 | 126 | 575 | 160 | 350 | 56 | 4x25 | 4x25 | 18 X 7 | 6 | 10
3 | WG28 | 30 | 38 | 216 | 540 | 135 | 575 | 160 | 368 | 56 | 4x25 | 4x25 | 15 X 9 | 6 | 12
4 | WG 29 | 30 | 29 | 216 | 540 | 102 | 575 | 160 | 287 | 56 | 4x25 | 4x25 | 17 X 6 | 6 | 12
10 | WG42 | 30 | 40 | 208.8 | 540 | 144 | 575 | 160 | 396 | 56 | 4x16 | 4x16 | 18 X 8 | 6 | 12
20 | HG43 | 30 | 54 | 104.4 | 540 | 90 | 575 | 160 | 258 | 55.5 | 4x16 | 4x16 | 18 X 5 | 6 | 12
25 | PHG-16 | 30 | 61 | 90 | 540 | 84 | 575 | 160 | 236 | 55.5 | 4x16 | 4x16 | 14 X 6 | 6 | 12
38 | PG 4 | 30 | 61 | 108 | 540 | 105 | 575 | 160 | 291 | 55.5 | 4x35 | 4x35 | 15 X 7 | 6 | 10
39 | PG 5 | 30 | 76 | 72 | 540 | 84 | 575 | 160 | 236 | 55.5 | 4x16 | 4x16 | 14 X 6 | 6 | 10
40 | PG 6 | 30 | 54 | 154.8 | 540 | 144 | 575 | 160 | 396 | 55.5 | 4x25 | 4x25 | 18 X 8 | 6 | 10
41 | TATW-1 | 30 | 46 | 204.84 | 540 | 144 | 575 | 160 | 396 | 55.5 | 4x16 | 4x16 | 18 X 8 | 6 | 10
43 | HCKTW2 | 30 | 27 | 216 | 540 | 96 | 575 | 160 | 270 | 55.5 | 4x16 | 4x16 | 16 X 6 | 6 | 10
47 | Mekoy pw-1 | 30 | 44 | 148.68 | 540 | 102 | 575 | 160 | 287 | 55.5 | 4x16 | 4x16 | 17 X 6 | 6 | 12
48 | Mekoy pw-2 | 30 | 55 | 108 | 540 | 96 | 575 | 160 | 270 | 55.5 | 4x16 | 4x16 | 16 X 6 | 6 | 12
56 | DHBH2 | 30 | 48 | 147.6 | 540 | 102 | 575 | 160 | 287 | 55.5 | 4x16 | 4x16 | 17 X 6 | 6 | 10
57 | SNBH1 | 30 | 36 | 151.2 | 540 | 80 | 575 | 160 | 229 | 55.5 | 4x16 | 4x16 | 16 X 5 | 6 | 12
58 | GKBH1 | 30 | 57 | 126 | 540 | 128 | 575 | 160 | 352 | 55.5 | 4x16 | 4x16 | 16 X 8 | 6 | 12
59 | THG 43 | 30 | 59 | 104.4 | 540 | 96 | 575 | 160 | 270 | 55.5 | 4x25 | 4x25 | 16 X 6 | 6 | 12
60 | TWJ3 | 30 | 41 | 216 | 540 | 144 | 575 | 160 | 396 | 55.5 | 4x25 | 4x25 | 18 X 8 | 6 | 12
2 | WG23 | 45 | 73 | 172.008 | 540 | 192 | 575 | 160 | 515 | 87 | 4x35 | 4x35 | 16 X 12 | 8 | 12
6 | WG32 | 45 | 62 | 155.52 | 540 | 135 | 575 | 160 | 368 | 87 | 4x25 | 4x25 | 15 X 9 | 8 | 12
7 | WG33 | 45 | 60 | 183.6 | 540 | 160 | 575 | 160 | 445 | 87 | 4x35 | 4x35 | 15 X 11 | 8 | 12
8 | WG40 | 45 | 74 | 145.62 | 540 | 165 | 575 | 160 | 445 | 87 | 4x50 | 4x50 | 15 X 11 | 8 | 12
9 | WG41 | 45 | 49 | 201.6 | 540 | 150 | 575 | 160 | 406 | 87 | 4x35 | 4x35 | 15 X 10 | 8 | 12
11 | WG 43 | 45 | 49 | 270 | 540 | 210 | 575 | 160 | 560 | 87 | 4x50 | 4x50 | 15 X 14 | 8 | 12
12 | WG 34 | 45 | 68 | 187.2 | 540 | 204 | 575 | 160 | 548 | 87 | 4x25 | 4x25 | 17 X 12 | 8 | 12
13 | HG 5 | 45 | 60 | 180 | 540 | 153 | 575 | 160 | 442 | 87 | 4x25 | 4x25 | 18 X 9 | 8 | 10
14 | HG11 | 45 | 62 | 180 | 540 | 168 | 575 | 160 | 451 | 87 | 4x35 | 4x35 | 14 X 12 | 8 | 10
15 | HG13 | 45 | 59 | 180 | 540 | 160 | 575 | 160 | 434 | 87 | 4x35 | 4x35 | 16 X 10 | 8 | 10
17 | HG 28 | 45 | 50 | 198 | 540 | 150 | 575 | 160 | 406 | 87 | 4x50 | 4x50 | 15 X 10 | 8 | 12
19 | HG 37 A | 45 | 55 | 180 | 540 | 140 | 575 | 160 | 379 | 87 | 4x25 | 4x25 | 14 X 10 | 8 | 12
21 | PHG-6 | 45 | 43 | 252 | 540 | 208 | 575 | 160 | 556 | 87 | 4x25 | 4x25 | 16 X 13 | 8 | 12
22 | PHG 8 | 45 | 76 | 167.04 | 540 | 208 | 575 | 160 | 556 | 87 | 4x35 | 4x35 | 16 X 13 | 8 | 12
23 | PHG 9 | 45 | 59 | 192.6 | 540 | 176 | 575 | 160 | 474 | 87 | 4x50 | 4x50 | 16 X 11 | 8 | 12
24 | PHG 10 | 45 | 48 | 214.2 | 540 | 153 | 575 | 160 | 417 | 87 | 4x50 | 4x50 | 17 X 9 | 8 | 12
28 | ALTW-3 | 45 | 61 | 180 | 540 | 165 | 575 | 160 | 445 | 87 | 4x25 | 4x25 | 15 X 11 | 8 | 12
30 | MGTW-1 | 45 | 51 | 223.2 | 540 | 187 | 575 | 160 | 504 | 87 | 4x25 | 4x25 | 17 X 11 | 8 | 12
31 | MGTW-2 | 45 | 52 | 205.2 | 540 | 165 | 575 | 160 | 445 | 87 | 4x25 | 4x25 | 15 X 11 | 8 | 12
32 | MGTW3 | 45 | 110 | 90 | 540 | 153 | 575 | 160 | 417 | 87 | 4x50 | 4x50 | 17 X 9 | 8
33 | MGPW1 | 45 | 50 | 259.2 | 540 | 210 | 575 | 160 | 560 | 87 | 4x25 | 4x25 | 15 X 14 | 8
34 | MGPW2 | 45 | 59 | 230.4 | 540 | 210 | 575 | 160 | 560 | 87 | 4x25 | 4x25 | 15 X 14 | 8
36 | TG 3 | 45 | 70 | 187.2 | 540 | 210 | 575 | 160 | 560 | 87 | 4x35 | 4x35 | 15 X 14 | 8 | 10
37 | TG 4 | 45 | 52 | 198 | 540 | 160 | 575 | 160 | 434 | 87 | 4x50 | 4x50 | 16 X 10 | 8 | 10
42 | TATW-2 | 45 | 52 | 223.2 | 540 | 182 | 575 | 160 | 487 | 87 | 4x25 | 4x25 | 14 X 13 | 8 | 10
44 | HCKTW3 | 45 | 53 | 237.6 | 540 | 210 | 575 | 160 | 560 | 87 | 4x25 | 4x25 | 15 X 14 | 8 | 10
45 | HCKTW4 | 45 | 61 | 217.08 | 540 | 210 | 575 | 160 | 560 | 87 | 4x35 | 4x35 | 15 X 14 | 8 | 12
46 | HCKTW5 | 45 | 152 | 68.4 | 540 | 153 | 575 | 160 | 417 | 87 | 4x70 | 4x70 | 17 X 9 | 8 | 12
49 | JRTW1 | 45 | 52 | 223.2 | 540 | 182 | 575 | 160 | 487 | 87 | 4x25 | 4x25 | 14 X 13 | 8 | 12
50 | JRTW2 | 45 | 61 | 180 | 540 | 160 | 575 | 160 | 434 | 87 | 4x25 | 4x25 | 16 X 10 | 8 | 10
51 | STW1 | 45 | 61 | 198 | 540 | 176 | 575 | 160 | 474 | 87 | 4x25 | 4x25 | 16 X 11 | 8 | 10
53 | JWTW1 | 45 | 43 | 244.8 | 540 | 180 | 575 | 160 | 488 | 87 | 4x25 | 4x25 | 18 X 10 | 8 | 10
54 | JWTW2 | 45 | 81 | 144 | 540 | 210 | 575 | 160 | 560 | 87 | 4x35 | 4x35 | 15 X 14 | 8 | 10
16 | HG26 | 55 | 55 | 306 | 540 | 240 | 575 | 160 | 638 | 102 | 4x50 | 4x50 | 16 X 15 | 8 | 12
26 | ALTW-1 | 55 | 88 | 187.2 | 540 | 240 | 575 | 160 | 638 | 102 | 4x35 | 4x35 | 16 X 15 | 8 | 12
27 | ALTW2 | 55 | 85 | 172.8 | 540 | 234 | 575 | 160 | 626 | 102 | 4x50 | 4x50 | 18 X 13 | 8 | 12
35 | SWTW2 | 55 | 72 | 216 | 540 | 240 | 575 | 160 | 638 | 102 | 4x35 | 4x35 | 16 X 15 | 8 | 10
52 | STW2 | 55 | 130 | 118.8 | 540 | 240 | 575 | 160 | 638 | 102 | 4x70 | 4x70 | 16 X 15 | 8 | 10
55 | SRTW1 | 55 | 90 | 180 | 540 | 240 | 575 | 160 | 638 | 102 | 4x50 | 4x50 | 16 X 15 | 8 | 10
18 | HG 29 | 75 | 62 | 288 | 540 | 364 | 575 | 160 | 952 | 135 | 4x70 | 4x70 | 14 X 26 | 8 | 12
29 | ALPW1 | 75 | 97 | 190.8 | 540 | 288 | 575 | 160 | 764 | 135 | 4x70 | 4x70 | 18 X 16 | 8 | 12

## Borena
Borena Submersible system, Solar PV and Inverter setup
SN# | Description | Pump |  |  | Solar PV |  |  |  |  | Inverter |  |  | Cable
| BH | Kw | Head (m) | Q (m3/hr) | Wp | Qty | Vmp | A (max) | A (m2) | Kw | Pump to inverter | PV to Inverter | S x P | Pump Dia | Casing dia
32 | Dida Xuyura | 4 | 45 | 26 | 540 | 18 | 575 | 160 | 55 | 10 | 4x6 | 4x6 | 6x3 | 6'' | 8
36 | Melbana | 4 | 80 | 13 | 540 | 20 | 575 | 160 | 59 | 25 | 4x6 | 4x6 | 5x4 | 6'' | 6
33 | Romso | 5.5 | 80 | 25 | 540 | 30 | 575 | 160 | 100 | 10 | 4x6 | 4x6 | 15x2 | 6'' | 8
37 | Dolola Holaa | 5.5 | 80 | 25 | 540 | 18 | 575 | 160 | 74 | 25 | 4x6 | 4x6 | 18x1 | 4'' | 6
38 | Eloye | 5.5 | 80 | 25 | 540 | 28 | 575 | 160 | 93 | 25 | 4x6 | 4x6 | 14x2 | 6'' | 8
39 | Haro Bake | 5.5 | 160 | 13 | 540 | 18 | 575 | 160 | 74 | 25 | 4x6 | 4x6 | 18x1 | 4'' | 8
29 | Gaale | 7.5 | 90 | 25 | 540 | 36 | 575 | 160 | 120 | 25 | 4x6 | 4x6 | 18x2 | 6'' | 8
15 | Dusse#3 | 11 | 100 | 39 | 540 | 48 | 575 | 160 | 147 | 20 | 4x8 | 4x8 | 16x3 | 6'' | 8
16 | Gollole | 11 | 100 | 39 | 540 | 48 | 575 | 160 | 147 | 20 | 4x10 | 4x10 | 16x3 | 6'' | 8
17 | Cholkasa | 11 | 100 | 39 | 540 | 34 | 575 | 160 | 113 | 20 | 4x8 | 4x8 | 17x2 | 6'' | 6
28 | Mexi | 11 | 100 | 39 | 540 | 48 | 575 | 160 | 147 | 25 | 4x6 | 4x6 | 16x3 | 6'' | 8
12 | kella qufa | 15 | 55 | 112 | 540 | 42 | 575 | 160 | 129 | 30 | 4x8 | 4x8 | 14x3 | 6'' | 6
31 | Kafara | 15 | 220 | 22 | 540 | 64 | 575 | 160 | 188 | 25 | 4x16 | 4x16 | 16x4 | 6'' | 8
34 | NBTW-2 | 15 | 220 | 22 | 540 | 64 | 575 | 160 | 188 | 25 | 4x25 | 4x25 | 16x4 | 6'' | 12
35 | WDW2 | 15 | 220 | 22 | 540 | 60 | 575 | 160 | 176 | 25 | 4x25 | 4x25 | 15x4 | 6'' | 8
40 | NGW-3 | 15 | 220 | 22 | 540 | 42 | 575 | 160 | 129 | 25 | 4x25 | 4x25 | 14x3 | 6'' | 12
18 | H/Samaro | 18.5 | 200 | 38 | 540 | 72 | 575 | 160 | 212 | 30 | 4x16 | 4x16 | 18x4 | 6'' | 8
11 | Bokku-moyale | 30 | 200 | 63 | 540 | 102 | 575 | 160 | 287 | 60 | 4x25 | 4x25 | 17x6 | 6'' | 8
13 | Dusse#2 | 30 | 200 | 63 | 540 | 42 | 575 | 160 | 215 | 50 | 4x25 | 4x25 | 15x5 | 6'' | 8
14 | Boku-moyale (unicef) | 30 | 200 | 63 | 540 | 42 | 575 | 160 | 243 | 50 | 4x16 | 4x16 | 17x5 | 6'' | 8
25 | NBTW-3 | 30 | 330 | 37 | 540 | 140 | 575 | 160 | 379 | 50 | 4x50 | 4x50 | 14x10 | 6'' | 12
26 | NBTW-4 | 30 | 330 | 37 | 540 | 119 | 575 | 160 | 330 | 50 | 4x50 | 4x50 | 17x7 | 6'' | 12
30 | Marmaro | 30 | 330 | 37 | 540 | 144 | 575 | 160 | 396 | 50 | 4x50 | 4x50 | 18x8 | 6'' | 12
21 | GW2 | 45 | 200 | 109 | 540 | 210 | 575 | 160 | 560 | 100 | 4x50 | 4x50 | 15x14 | 6'' | 8
22 | GW4 | 45 | 200 | 109 | 540 | 210 | 575 | 160 | 560 | 100 | 4x50 | 4x50 | 15x14 | 6'' | 8
23 | GW-3 | 45 | 200 | 109 | 540 | 192 | 575 | 160 | 515 | 100 | 4x50 | 4x50 | 16x12 | 6'' | 8
19 | NBTW-1 | 55 | 230 | 106 | 540 | 187 | 575 | 160 | 504 | 100 | 4x95 | 4x95 | 17x11 | 6'' | 12
20 | NBTW-7 | 55 | 230 | 106 | 540 | 192 | 575 | 160 | 515 | 100 | 4x95 | 4x95 | 16x12 | 8'' | 12
27 | NBTW-10 | 55 | 230 | 106 | 540 | 192 | 575 | 160 | 515 | 100 | 4x95 | 4x95 | 16x12 | 8'' | 12
1 | NBTW-6 | 75 | 140 | 223 | 540 | 364 | 575 | 160 | 952 | 115 | 4x95 | 4x95 | 14x26 | 8'' | 12
2 | NBTW-5 | 75 | 140 | 223 | 540 | 364 | 575 | 160 | 701 | 115 | 4x70 | 4x70 | 14x19 | 8'' | 12
3 | NBTW-12 | 75 | 160 | 182 |  | 364 | 575 | 160 | 952 | 115 | 4x95 | 4x95 | 14x26 | 8'' | 12
4 | NBTW-8 | 75 | 300 | 113 | 540 | 364 | 575 | 160 | 952 | 115 | 4x95 | 4x95 | 14x26 | 8'' | 12
5 | NBTW-9 | 75 | 300 | 113 | 540 | 364 | 575 | 160 | 952 | 115 | 4x95 | 4x95 | 14x26 | 8'' | 12
6 | BH2WF1V1 | 75 | 300 | 113 | 540 | 364 | 575 | 160 | 952 | 115 | 4x70 | 4x70 | 14x26 | 8'' | 12
7 | UTALO WF1V6 | 75 | 300 | 113 | 540 | 364 | 575 | 160 | 952 | 115 | 4x95 | 4x95 | 14x26 | 8'' | 12
8 | Utalo WF2V2 | 75 | 300 | 113 | 540 | 364 | 575 | 160 | 952 | 115 | 4x95 | 4x95 | 14x26 | 8'' | 12
9 | NBTW-11 | 75 | 300 | 113 | 540 | 364 | 575 | 160 | 952 | 115 | 4x70 | 4x70 | 14x26 | 8'' | 12
10 | NGW-2 | 75 | 300 | 113 | 540 | 364 | 575 | 160 | 765 | 115 | 3x120+70 | 3x120+70 | 17x17 | 8'' | 12
24 | NGW-1 | 75 | 300 | 113 | 540 | 270 | 575 | 160 | 718 | 115 | 4x95 | 4x95 | 18x15 | 8'' | 12

## Adapt. beneficiaries overview
Project/Programme title: | Climate-resilient community access to safe water powered by renewable energy in drought-vulnerable regions of Ethiopia
Country(ies): | Ethiopia
Accredited Entity: | Ministry of Finance (MOF)
Core indicator 2: Direct and indirect beneficiaries reached
Direct beneficiaries | 355235
indirect beneficiaries | 1757752
Direct and indirect beneficiaries reached | 2112987

## Kobo Girana- Beneficiaries
Climate change vulnerability context
| Targeted location | Kobo Girana Valley, Amhara region
| Observed and future climate hazards | - Erratic and unpredictable rainfall pattern ( variation in onset and end of rainfall) - Increasing temperatures - Increasing drought
| Brief description of the project location | Altitude ranges are from 1,350 to 1,500 both in Kobo and Girana sub-basins. These areas are mostly cultivated, growing cereals, pulses and vegetables as dominant crops. - The Kobo-Girana valley is characterized by mixed farming agricultural practice: i.e., the farming society produces crops and rears animals and almost all farmers practice this activity -Over 98 percent of the agricultural production depends of rainfall and less than 8% of the agricultural land is under fertilizer. - Irrigation, though currently increasing, has benefited only small proportion of the households.
| Climate change risks and impacts | Unreliable and low rainfall conditions brought due to climate change leading to reduced water availability for farming and decreased agricultural production.
Direct beneficiaries estimation
Results Area | Intervention no. | Adaptation intervention | Target group (households) | Link to the vulnerability context | Expected adaptation benefit (or outcome) | Direct beneficaries (receiving the adaptation benefit) # of Individuals based on a HH size of 5 | Assumptions Justification
ARA1 Most vulnerable people and communities ARA 2: Health, well-being, food, and water security | Activity 1.1 | 60 boreholes powered by solar energy and deployment of submersible pumps to support irrigation agriculture | 4,507 smallholder farmer households in Kobo-Girana | Reduces vulnerability to climate change induced droughts droughts leading to reduced water available for farming and and agricultural pruduction losses | Increased water availability for irrigation for small holder farmers due to project interventions in the Borena zone compared to the baseline scenario despite worsening climatic conditions | 22535 | 4,507 households or 22,535 small holder farmers will be directly benefiting from irrigation agriculture that will be fully powered by solar energy. It is assumed that all pumps will be fully installed and operational by end of year 3, thus commencing to generate adaptation benefits from year 4. Similarly for the pumps installed in year 4, they will start generate adaptation benefits in year 5. In the last year of the technical life (i.e. after 20 years) only half of the pumps are expected to be still operational, thus the adaptation benefits would be expected to persist for the lifespan of the pumps and based on the exising vulnerability of the region.
| Activity 1.3 | Resilient agricultural production by smallholder farmers - Solar Water Pumping irrigation infrastructure for local agricultural cooperatives that consist of smallholder farmers in the vicinity of the wells - Extension services to improve farming methods and techniques to increase farmer productivity
Total number of direct beneficiaries | [5 empty] | 22535
Total number of direct beneficiaries at the aggregate level (accounting for double counting) | [5 empty] | 22535
Indirect beneficiaries estimation | [5 empty] | Assumptions/Justification
Results Area | Intervention no. | Adaptation intervention | Link to the vulnerability context | Expected adaptation benefit (or outcome) | Indirect beneficaries (not targeted by the project but likely to receive the adaptation benefit) | Population data projected is based on 2007 CSA census data
ARA1 Most vulnerable people and communities ARA 2: Health, well-being, food, and water security | Activity 1.1 | 60 boreholes powered by solar energy and deployment of submersible pumps to support irrigation agriculture | Reduces vulnerability to climate change induced water scarcity | Increased or maintained water availability due to efficient use of water for farming in the project location compared to the baseline scenario despite worsening climatic conditions | 1587079
| Activity 1.3 | Resilient agricultural production by smallholder farmers - Solar Water Pumping irrigation infrastructure for local agricultural cooperatives that consist of smallholder farmers in the vicinity of the wells - Extension services to improve farming methods and techniques to increase farmer productivity
Total number of direct beneficiaries |  |  |  |  | 1587079
Total number of indirect beneficiaries (accounting for double counting) |  |  |  |  | 1587079

## Kobo Girana beneficiary data
Quantification of direct beneficiaries (Kobo-Girana)
The project design of this study has landed on 0.84 ha of land could be irrigated on one litres per second water discharge. This figure was arrived after having conducted detailed analysis of the type of irrigation system under consideration i.e. drip irrigation, types of crops to be grown in the area, the soil type and the amount of water that can be saftley discharged to the surface (See Annex 2, part C for further details)

## Borena- Beneficiaries
Climate change vulnerability context
| Targeted location | Borena, Oromia Region
| Brief description of the project location | - The Borena basin is located in southern Ethiopia, a semi-arid climate, on the eastern shoulder of the south Main Ethiopian Rift (MER) and bordered with Kenya. -The community is largely pastoralists that depend on livestock production for their livelihoods, with limited crop-livestock mixed farming system. - Goats, sheep, cattle, donkeys and camels are the dominant sources of income and basis for livelihoods of the pastoralists. - Dillo Woreda is one of the project Woreda where some pastoralists cultivate cereal and pulse crops with both meher and belg season rainfall – but, due to shortages of rainfall, not all cultivated land is currently productive. - Pastoralists of Borena are politically and economically marginalized and their livelihoods are highly dependent on natural resources with weak local adaptation mechanisms making highly vulnerable to the impact of climate change
| Observed and future climate hazards | - Erratic and unpredictable rainfall pattern - Increased temperature and more frequent/intense droughts
| Climate change risks and impacts | -Drinking water is becoming more-scarce for livestock and domestic use as all the available ponds are drying and more and more hand-dug wells are also running dry due to regressing ground water levels - Livestock suffer from scarce water resources and lack of pasture - Extremely scarce drinking water for humans and livestock and absence or lowering of remaining surface water and levels in the traditional deep water cisterns (locally called Ellas), creating poor quality drinking water and a health hazard; diarrhoea and arising of other intestinaldisorders -Livestock (in Borana society, mainly cattle) suffer from scarce water resources and lack of pasture, cattle have started to perish and there is little doubt that more livestock will be lost before the next rainy season sets in affecting pastoralist livelihoods
Direct beneficiaries estimation
Results Area | Intervention no. | Adaptation intervention | Target group (no. households) | Link to the vulnerability context | Expected adaptation benefit (or outcome) | Direct beneficaries (receiving the adaptation benefit) Individuals based on a HH size of 5 | Assumptions/ Justification
ARA1 Most vulnerable people and communities ARA 2: Health, well-being, food, and water security | Activity 1.1 | 40 boreholes powered by solar energy and deployment of submersible pumps to support irrigation agriculture | 263 smallholder farmer households in Borena | Reduces vulnerability to reduced rainfall and increasing droughts leading to reduced water available for farming | Increased water availability for irrigation for small holder farmers in the Borena zone compared to the baseline scenario despite worsening climatic conditions | 1315 | '- It is assumed that all pumps will be fully installed and operational by end of year 3, thus commencing to generate adaptation benefits from year 4. Similarly for the pumps installed in year 4, they will start generate adaptation benefits in year 5. In the last year of the technical life (i.e. after 20 years) only half of the pumps are expected to be still operational, thus the adaptation benefits would be expected to persist for the lifespan of the pumps and based on the exising vulnerability of the region. As it is likely the households targeted under Activities 1.1 and 1.2 may be part of the households under activity 1.3, the beneficiaries are counted once to avoid double-counting and the overestimation of beneficiaries
| Activity 1.3 | Resilient agricultural production by smallholder farmers - Solar Water Pumping irrigation infrastructure for local agricultural cooperatives that consist of smallholder farmers in the vicinity of the wells - Extension services to improve farming methods and techniques to increase farmer productivity | 263 smallholder farmer households
| Activity 1.2 | Provision of water for livestock and fodder production | 26,272 rural households | Reduces vulnerability to reduced rainfall and increasing droughts leading to lack of adequate and safe potable water | Increased (safe and potable) water availability compared to the baseline scenario despite worsening climatic conditions | 132675
| Activity 1.2 | Provision of water for potable use | 66,540 rural households | Reduces vulnerability to to reduced rainfall and increasing droughts leading to lack of adequate and safe potable water | Increased (safe and potable) water availability for rural houeholds compared to the baseline scenario despite worsening climatic conditions | 332700
Total number of direct beneficiaries | [5 empty] | 466690
Total number of direct beneficiaries at the aggregate level (accounting for double counting) | [5 empty] | 332700
Indirect beneficiaries estimation | [5 empty] | Assumptions/Justification
Results Area | Intervention no. | Adaptation intervention | Link to the vulnerability context | Expected adaptation benefit (or outcome) | Indirect beneficaries (not targeted by the project but likely to receive the adaptation benefit) | Based on population data projected is based on 2007 CSA census data.
ARA1 Most vulnerable people and communities ARA 2: Health, well-being, food, and water security | Activity 1.1 | 60 boreholes powered by solar energy and deployment of submersible pumps to support irrigation agriculture | Reduces vulnerability to climate change induced water scarcity and agricultural production losses | Increased or maintained water availability due to the project interventions compared to the baseline scenario despite worsening climatic conditions | 170673
| Activity 1.2 | - Provision of water for potable use '-Provision of water for livestock and fodder production
Total number of direct beneficiaries |  |  |  |  | 170673
Total number of indirect beneficiaries (accounting for double counting) |  |  |  |  | 170673

## Borena beneficiary data
Quantification of direct beneficiaries (Borena zone)
In Borena, a total of 40 boreholes have been targeted by this project to be powered by solar energy for potable water supply for the community & livestock and produce fodder for the livestock. Thirteen out of the forty targeted boreholes that are currently operational and powered by diesel generators will be decommissioned and replaced by solar power. Furthermore, the approach followed in allocating ground water in Borena is slightly different and has followed the ratio below for every litre of ground water pumped for every second (Table below) 1) Boreholes with a discharge capacity of more than 10 litres per second have their water divided into the following ratio – Potable: Livestock: Irrigation (3:4:3). 2) Boreholes with a discharge capacity between 10 and 4 (inclusive) 10 litres per second have their water divided into the following ratio – Potable: Livestock (4:6). 3) Boreholes with a discharge capacity of less than 4 litres per second have their water allocated only for potable use - Potable (1). The Project design of this study has landed on 4.64 ha of land could be irrigated for fodder on one litres per second water discharge. This figure was arrived after having conducted detailed analysis of the type of irrigation system under consideration i.e. centre pivot system, type of forage to be grown in the area, the soil type and the amount of water that can be safely discharged to the surface ( see Annex 2, section C for further details).